WORLD

ANTI-DOPING

AGENCY

play true

WORLD ANTI-DOPING CODE

INTERNATIONAL

STANDARD

LABORATORIES 2021

International Standard for Laboratories

The World Anti-Doping Code International Standard for Laboratories is a  mandatory International Standard developed as part of the World Anti-Doping  Program. It was developed in consultation with Signatories, public authorities, and  other relevant stakeholders.

The International Standard for Laboratories first came into effect in November  2002. It was subsequently amended multiple times, specifically in 2003, 2004,  2008, 2009, 2012, 2015, 2016, and 2019. A revised version was approved by the  WADA Executive Committee on 15 September 2020 and is effective as of  1 January 2021.

Published by:

World Anti-Doping Agency

Stock Exchange Tower

800 Place Victoria (Suite 1700)

PO Box 120

Montreal, Quebec

Canada H4Z 1B7

www.wada-ama.org

Tel: +1 514 904 9232

Fax: +1 514 904 8650

E-mail: code@wada-ama.org

ISL – January 2021

Table of Contents

PART ONE: INTRODUCTION, CODE PROVISIONS, INTERNATIONAL STANDARD PROVISIONS AND DEFINITIONS..........................................................................................8

1.0 Introduction and Scope................................................................................................8 1.1 WADA Laboratory Standards.....................................................................................8 1.1.1 International Standard for Laboratories (ISL)................................................8 1.1.2 Technical Documents .................................................................................9 1.1.3 Technical Letters ......................................................................................10 1.1.4 Laboratory Guidelines...............................................................................11 1.1.5 Technical Notes........................................................................................11 1.2 Sample Analysis .....................................................................................................11 1.3 WADA Laboratory Accreditation Framework and Laboratory Approval for the ABP....12 2.0 Code Provisions.........................................................................................................13 3.0 Definitions and Interpretations ..................................................................................13

3.1 Defined terms from the 2021 Code that are used in the International Standard for  Laboratories ...........................................................................................................13

3.2 Defined Terms from the International Standard for Laboratories................................17 3.3 Defined Terms from the International Standard for Testing and Investigations ...........22 3.4 Defined Terms from the International Standard for Results Management ..................23 3.5 Interpretation ..........................................................................................................23

PART TWO: LABORATORY ACCREDITATION AND LABORATORY APPROVAL FOR THE  ABP REQUIREMENTS AND OPERATING STANDARDS.....................................................24

4.0 Process and Requirements for WADA Laboratory Accreditation and Laboratory  Approval for the ABP..........................................................................................................24

4.1 Applicant Laboratory for WADA Accreditation...........................................................24 4.1.1 Expression of Interest ...............................................................................24 4.1.2 Submit Initial Application Form ..................................................................24 4.1.3 Provision of Letters of Support ..................................................................24 4.1.4 Provision of Business Plan........................................................................25

4.2 Candidate Laboratory for WADA Accreditation.........................................................25 4.2.1 Description of the Candidate Laboratory ....................................................25 4.2.2 Payment of Initial Accreditation Fee...........................................................27 4.2.3 Compliance with the Code of Ethics (Annex A) ..........................................27 4.2.4 Laboratory Independence and Impartiality .................................................27

ISL – January 2021

4.2.5 Pre-Probationary Test and On-Site Assessment ........................................27 4.3 Probationary Laboratory for WADA Accreditation .....................................................29 4.3.1 Participating in the WADA EQAS Program.................................................29 4.3.2 Planning and Implementing Research and Development Activities..............29 4.3.3 Planning and Implementing Sharing of Knowledge.....................................29 4.3.4 Compliance with the Code of Ethics (Annex A) ..........................................29 4.3.5 Obtaining ISO/IEC 17025 Accreditation by the Laboratory..........................30 4.3.6 Analytical Testing Procedures ...................................................................30 4.3.7 Laboratory Independence and Impartiality .................................................30 4.3.8 Professional Liability Insurance Coverage..................................................30 4.4 WADA-Accredited Laboratory..................................................................................31 4.4.1 Obtaining WADA accreditation ..................................................................31 4.4.2 Maintaining WADA Accreditation...............................................................33 4.5 Removal of Samples by WADA ...............................................................................39 4.5.1 Removal of Samples for Analysis or Further Analysis.................................39 4.5.2 Removal of Samples for Laboratory Quality Assessment............................40 4.6 WADA Monitoring of Accreditation Status ................................................................40 4.6.1 Maintenance of WADA Accreditation .........................................................40 4.6.2 Re-accreditation Costs..............................................................................40 4.6.3 Issuing and Publication of Accreditation Certificate.....................................40 4.6.4 Withdrawal of WADA Accreditation............................................................41

4.6.5 Consequences of Suspended or Revoked Accreditation or Analytical Testing  Restriction................................................................................................50

4.6.6 Reinstatement of Suspended Accreditation or Lifting of the Analytical Testing Restriction................................................................................................56

4.6.7 Voluntary Cessation of Laboratory Operations ...........................................59 4.7 Process and Requirements for WADA Laboratory Approval for the ABP....................60 4.7.1 Applicant Laboratory for WADA Approval for the ABP ................................60 4.7.2 Candidate Laboratory for WADA Approval for the ABP...............................61 4.7.3 Granting of WADA Approval for the ABP....................................................63 4.7.4 Maintaining Status as an ABP Laboratory..................................................64 5.0 Application of ISO/IEC 17025 to the Analysis of Samples.........................................66 5.1 Introduction and Scope ...........................................................................................66 5.2 Structural and Resource Requirements....................................................................66 5.2.1 General....................................................................................................66

ISL – January 2021

5.2.2 Laboratory Personnel................................................................................66 5.2.3 Laboratory Facilities and Environmental Conditions....................................69 5.2.4 Laboratory Equipment...............................................................................73 5.2.5 Metrological Traceability............................................................................73 5.2.6 Subcontracting of Analysis ........................................................................74 5.2.7 Purchasing of Services and Supplies.........................................................75

5.3 Process Requirements ............................................................................................75 5.3.1 Reviewing of Requests, Tenders and Contracts .........................................75 5.3.2 Reception, Registration and Handling of Samples......................................75 5.3.3 Acceptance of Samples for Analysis..........................................................76 5.3.4 Initial Storage and Sample Aliquoting for Analysis ......................................79 5.3.5 Selection and Validation of Analytical Testing Procedures ..........................80 5.3.6 Sample Analysis.......................................................................................85 5.3.7 Assuring the Validity of Analytical Results................................................101 5.3.8 Results Management..............................................................................103 5.3.9 Control of Nonconformities in Analytical Testing.......................................109 5.3.10 Complaints .............................................................................................109 5.3.11 Storage of Samples ...............................................................................110 5.3.12 Secondary Use or Disposal of Samples and Aliquots ...............................115

5.4 Management Requirements ..................................................................................117 5.4.1 Organization...........................................................................................117 5.4.2 Management Reviews.............................................................................117 5.4.3 Document Control...................................................................................117 5.4.4 Control and Storage of Technical Records...............................................117 5.4.5 Cooperation with Customers and with WADA...........................................117

6.0 WADA External Quality Assessment Scheme (EQAS) ............................................120 6.1 Types of EQAS.....................................................................................................120 6.1.1 Blind EQAS ............................................................................................120 6.1.2 Double-Blind EQAS ................................................................................120 6.1.3 Educational EQAS..................................................................................120 6.2 EQAS Sample Number and Composition...............................................................120 6.2.1 Number of EQAS Samples......................................................................120 6.2.2 Composition of EQAS Samples...............................................................121 6.2.3 Laboratory Analytical Testing Procedures Used in EQAS .........................123

ISL – January 2021

6.3 Reporting of EQAS results.....................................................................................123 6.3.1 Reporting Blind EQAS Results ................................................................124 6.3.2 Reporting Double-Blind EQAS Results ....................................................124 6.3.3 Reporting Educational EQAS Results ......................................................125

6.3.4 Reporting Results for EQAS Samples Containing Non-Threshold Substances ..............................................................................................................125

6.3.5 Reporting Results for EQAS Samples Containing Threshold Substances..125

7.0 Evaluation of Laboratory EQAS and Routine Analytical Testing Performance.......127 7.1 Evaluation of EQAS Results ..................................................................................127 7.1.1 EQAS Samples Containing Non-Threshold Substances ...........................128 7.1.2 EQAS Samples Containing Threshold Substances...................................128 7.2 Evaluation of Laboratory Performance ...................................................................130 7.2.1 False Adverse Analytical Finding.............................................................130 7.2.2 False Negative Finding ...........................................................................137 7.2.3 Further Procedural Evaluations ..............................................................138 7.3 Overall Laboratory Evaluation................................................................................138

Points Scale Table for Assessment of Laboratory and Probationary Laboratory  Performance...........................................................................................140

7.4 Probationary Period and Probationary Laboratory Evaluation..................................142

7.4.1 Analytical Testing Procedures Utilized by Probationary Laboratories for the  Analysis of EQAS samples......................................................................142

7.4.2 False Adverse Analytical Finding Result ..................................................142 7.4.3 False Negative Finding ...........................................................................142 7.4.4 Threshold Substance Result ...................................................................143 7.4.5 Overall Probationary Laboratory Evaluation .............................................143

PART THREE: ISL ANNEXES ...........................................................................................145 ISL ANNEX A - CODE OF ETHICS FOR LABORATORIES and ABP LABORATORIES.....145 1.0 Confidentiality .......................................................................................................145 2.0 Research in Support of Doping Control..................................................................145 2.1 Research on Human Subjects .................................................................145 2.2 Controlled Substances ............................................................................145 3.0 Analysis................................................................................................................145 3.1 Analytical Testing for Anti-Doping Organizations (Signatories or WADA)...146 3.2 Analytical Testing for non-Signatories......................................................146 3.3 Clinical or Forensic Analysis....................................................................146

ISL – January 2021

3.4 Other Analytical Activities........................................................................146 3.5 Sharing of Knowledge.............................................................................147

4.0 Duty to Preserve the Integrity of the World Anti-Doping Program and to Avoid any  Detrimental Conduct .............................................................................................147

5.0 Breach and Enforceability......................................................................................148 ISL ANNEX B – ACCREDITATION REQUIREMENTS FOR MAJOR EVENTS ....................149 1.0 Major Event Analytical Testing in the Laboratory Facilities ......................................149 1.1 Participation in WADA Assessment(s) .....................................................149 1.2 Participation in the WADA EQAS.............................................................152 1.3 Pre-Event Report....................................................................................152 1.4 Additional Professional Liability Insurance Coverage................................153 1.5 “B” Confirmation .....................................................................................153 1.6 Documentation and Reporting.................................................................153 2.0 Major Event Analytical Testing in “Satellite” Laboratory Facilities ............................153 2.1 Participating in WADA Assessment(s) .....................................................153 2.2 Documenting ISO/IEC 17025 Accreditation of the Satellite Facility............154 2.3 Professional Liability Insurance Coverage................................................154 2.4 Obtaining a Temporary and Limited WADA Accreditation Certificate.........154 3.0 Monitoring and Assessment during a Major Event ..................................................155 3.1 Reporting of False Analytical Findings during a Major Event.....................155

ISL ANNEX C – PROCEDURAL RULES FOR THE DISCIPLINARY COMMITTEE OF THE  INTERNATIONAL STANDARD FOR LABORATORIES......................................................156

Preamble ....................................................................................................................156 PART I - Composition of the Committee .......................................................................156 PART II - General Provisions .......................................................................................157 PART III - Scope of the Committee’s Review................................................................157 PART IV - Recommendation........................................................................................158 Part V – Expedited Proceedings or Single Hearing before CAS.....................................159

ISL – January 2021

PART ONE: INTRODUCTION, CODE PROVISIONS, INTERNATIONAL  STANDARD PROVISIONS AND DEFINITIONS

1.0 Introduction and Scope

1.1 WADA Laboratory Standards

1.1.1 International Standard for Laboratories (ISL)

In the introduction to the World Anti-Doping Code (Code), the purpose and  implementation of the International Standards are summarized as follows:

“International Standards for different technical and operational areas within the  anti-doping program have been and will be developed in consultation with the  Signatories and governments and approved by WADA. The purpose of the  International Standards is harmonization among Anti-Doping Organizations responsible for specific technical and operational parts of anti-doping programs.  Adherence to the International Standards is mandatory for compliance with the  Code. The International Standards may be revised from time to time by the WADA

Executive Committee after reasonable consultation with the Signatories,  governments and other relevant stakeholders. International Standards and all  revisions will be published on the WADA website and shall become effective on  the date specified in the International Standard or revision.”

The main purpose of the ISL is to ensure that Laboratories and ABP Laboratories report valid test results based on reliable evidentiary data, and to facilitate  harmonization in Analytical Testing of Samples by Laboratories and in the analysis of  ABP blood Samples by Laboratories and ABP Laboratories.

The ISL sets out the requirements to be followed by Laboratories and ABP Laboratories that wish to demonstrate that they are technically competent, operate  within an effective Management System, and are able to produce forensically valid  results. The ISL includes, inter alia, requirements for obtaining and maintaining WADA Laboratory accreditation and WADA laboratory approval for the ABP, operating  standards for the performance of Laboratories and ABP Laboratories and a description  of the accreditation and approval processes. The ISL also sets out requirements and  guidance for Anti-Doping Organizations in relation to Sample custody and storage,  Analytical Testing and some aspects of Results Management.

Compliance with the ISL in effect at the time of Sample analysis (as opposed to  another alternative standard, practice or procedure) shall be sufficient to conclude that  the procedures covered by this International Standard were performed properly. A  failure by a Laboratory or ABP Laboratory to follow a requirement in effect at the time  of Analytical Testing, which has subsequently been eliminated from this ISL or  applicable Technical Document(s) or Technical Letter(s) at the time of a hearing, shall  not serve as a defense to an anti-doping rule violation.

ISL – January 2021 Page 8 of 160

1.1.2 Technical Documents

- Technical Documents are issued to provide direction to the Laboratories, ABP Laboratories and other stakeholders on specific technical or procedural issues.  Technical Documents are modified and/or withdrawn by WADA as appropriate.

- Technical Documents are approved by the WADA Executive Committee and  published on WADA’s website. Once approved, a Technical Document becomes  an integral part of the ISL and supersedes any previous publication on a similar  topic 1, including Technical Letter(s) and/or the ISL.

- Implementation of the requirements detailed in a Technical Document may occur  prior to the effective date for implementation specified in the Technical Document and shall occur no later than the effective date.

A failure by a Laboratory or ABP Laboratory to implement a Technical Document or  Technical Letter by the effective date may result in the imposition of an Analytical  Testing Restriction against the Laboratory for that particular Analytical Testing Procedure or a Suspension of the Laboratory’s WADA accreditation, or a Suspension of the approval for the ABP, respectively, as determined by WADA;

[Comment: Laboratories and ABP Laboratories may implement a Technical Document as soon  as it is approved by the WADA Executive Committee and published on WADA’s website,  provided that the requirements of the Technical Document have been implemented and  documented in the Laboratory’s or ABP Laboratory’s Standard Operating Procedure(s)  [SOP(s)]. If a Laboratory or ABP Laboratory is not able to implement a new Technical  Document by its effective date, it shall inform its clients and WADA as soon as possible. The  Laboratory or ABP Laboratory shall send a written request to WADA for an extension beyond  the applicable effective date, providing the reason(s) for the delayed implementation of the  Technical Document, any measures taken to ensure that Samples received in the Laboratory or ABP Laboratory will be subject to Analytical Testing in compliance with the new Technical  Document (for example, by subcontracting the analysis to another Laboratory or ABP  Laboratory, as applicable), as well as plans for the implementation of the new Technical  Document.]

- The implementation of the Technical Documents requirements into the  Laboratory’s and, if relevant to the analysis of ABP blood Samples, the ABP Laboratory’s Management System is mandatory for obtaining and maintaining  WADA accreditation or approval, respectively, and for the application of the  relevant Analytical Testing Procedure(s) to the analysis of Samples;

- In cases when a newly approved version of a Technical Document lowers either a  Decision Limit for a Threshold Substance or a Minimum Reporting Level for a Non Threshold Substance, as applicable, the revised limits specified in the new

1 WADA will provide guidance to Laboratories, ABP Laboratories and other WADA stakeholders on the standard(s)  that may be affected by a new Technical Document or Technical Letter in the Summary of Modifications that  accompanies the publication of the revised version of the Technical Document or Technical Letter.

ISL – January 2021 Page 9 of 160

Technical Document shall not be applied to the reporting of analytical results for  Samples collected before the effective date of the Technical Document.

[Comment: For example, if the application of a newly approved Technical Document results  in an Adverse Analytical Finding for a Sample with a collection date prior to the effective  date of that new Technical Document, which would not have resulted in an Adverse  Analytical Finding with the application of the currently effective version of the Technical  Document in effect at the time of Sample collection (for example if the Decision Limit for a  Threshold Substance has been lowered in the newly approved Technical Document), the  Laboratory shall report the finding as a Negative Finding. In addition, the Laboratory shall  record the details of the finding as a comment in the Negative Finding Test Report.]

- The most recently approved Technical Document shall be applied to the Analytical  Testing of Samples prior to the effective date if it would lead to a result that benefits  the Athlete (e.g. increase of the Decision Limit for a Threshold Substance or of the  Minimum Reporting Level for a Non-Threshold Substance, establishment of more  stringent identification criteria for chromatographic-mass spectrometric or  electrophoretic Confirmation Procedures). Therefore, in the case where an  analytical finding does not meet the reporting criteria defined in the new Technical  Document, it shall be reported as a Negative Finding;

- Subject to the above, the analysis of Samples or the review of analytical data may  occur immediately once a Technical Document has been approved.

1.1.3 Technical Letters

- Technical Letters are issued in letter format on an ad-hoc basis in order to provide  direction to the Laboratories, ABP Laboratories and other stakeholders on  particular issues on the analysis, interpretation and reporting of results for specific  Prohibited Substance(s) and/or Prohibited Method(s) or on the application of  specific Laboratory procedures. Technical Letters are modified and/or withdrawn  by WADA as appropriate;

- Technical Letters are approved by the WADA Executive Committee and published  on WADA’s website. Technical Letters become effective immediately, unless  otherwise specified by WADA;

[Comment: Technical Letters may require actions [(e.g. validation of new Analytes or  modifications to Analytical Testing Procedures, the procurement of Reference Material(s)  or Reference Collection(s)], which may justify that its application cannot be immediate. In  such cases, WADA shall make a time provision for implementation and specify an effective  date for the Technical Letter.]

- Once approved, a Technical Letter becomes an integral part of the ISL and  supersedes any previous publication on a similar topic1, including Technical  Document(s) and/or the ISL;

- The implementation of the requirements of relevant Technical Letters into the  Laboratory’s and, if relevant to the analysis of ABP blood Samples, the ABP  Laboratory’s Management System is mandatory for obtaining and maintaining

ISL – January 2021 Page 10 of 160

WADA accreditation or approval, respectively, and for the application of the  relevant Analytical Testing Procedure(s) to the analysis of Samples.

1.1.4 Laboratory Guidelines

- Laboratory Guidelines are issued in order to provide direction to the Laboratories,  ABP Laboratories and other WADA stakeholders on new Analytical Methods or  procedures approved by WADA. Laboratory Guidelines are modified and/or  deleted by WADA, as appropriate;

- Laboratory Guidelines are approved by the Laboratory Expert Group (LabEG) and  are published on WADA’s website;

- Implementation of Laboratory Guidelines is not mandatory. However, Laboratories and ABP Laboratories are encouraged to follow, to the fullest extent possible, the  recommendations of best practice included in relevant Laboratory Guidelines.

1.1.5 Technical Notes

- Technical Notes are issued to Laboratories to provide detailed technical guidance  on the performance of specific Analytical Methods or procedures;

- Technical Notes are approved by the LabEG. Technical Notes are provided to  Laboratories only and are not published on WADA’s website;

- Implementation of the recommendations detailed in Technical Notes is not  mandatory. However, Laboratories are encouraged to follow, to the fullest extent  possible, the technical guidance included in Technical Notes.

1.2 Sample Analysis

Sample analysis is part of the Analytical Testing process and involves the detection,  identification, and in some cases demonstration of the presence above a Threshold of  Prohibited Substance(s) and/or their Metabolite(s), or Marker(s) of Use of Prohibited  Substances or Prohibited Methods in human biological fluids or tissues.

Laboratories may accept samples for other forms of analysis, subject to the provisions of the  ISL Code of Ethics (see Annex A), which are not under the scope of WADA accreditation (e.g. animal sports testing, forensic testing, clinical testing, drugs of abuse testing). Any such  testing shall not be covered by the Laboratory’s WADA accreditation and, therefore, shall not  be subject to the requirements of the ISL, Technical Documents or Technical Letters. For the  avoidance of doubt, test reports or other documentation or correspondence from Laboratories

shall not declare or represent that any such testing is covered under their WADA accreditation  status.

ABP Laboratories may also accept samples for other forms of analyses, which are not within  the scope of the WADA approval (e.g. forensic testing, clinical testing, drugs of abuse testing).  For the avoidance of doubt, test reports or other documentation or correspondence from ABP

ISL – January 2021 Page 11 of 160

Laboratories shall not state or represent that any such testing is covered under their WADA approval status.

1.3 WADA Laboratory Accreditation Framework and Laboratory Approval for the ABP

The WADA Laboratory accreditation and Laboratory approval for the ABP framework consists  of two main elements: Part Two of the ISL (Laboratory accreditation and Laboratory approval for the ABP requirements and operating standards) and Part Three (the Annexes).

- Part Two of the ISL describes the requirements necessary to obtain and maintain WADA accreditation and the procedures involved to fulfill these requirements, as well as the  requirements necessary to obtain and maintain WADA approval for the ABP (Section 4.0).  It also includes the application of ISO/IEC 17025 2to the field of Doping Control (Section  5.0) and a description of the WADA External Quality Assessment Scheme (EQAS)  (Section 6.0) as well as the procedures to evaluate Laboratory EQAS and routine  Analytical Testing performance by WADA (Section 7.0). The purpose of Part Two of the  ISL is to enable the consistent application of ISO/IEC 17025 and ISL-specific requirements  to Analytical Testing for Doping Control by Laboratories and ABP Laboratories, as well as  to facilitate the assessment of Laboratory and ABP Laboratory compliance by  Accreditation Bodies and WADA.

- Part Three of the ISL includes all Annexes. Annex A (Code of Ethics), Annex B  (Accreditation and Analytical Testing Requirements for Major Events) and Annex C  (Procedural Rules) describe the ethical and legal standards required for continued WADA accreditation of the Laboratory or continued approval of the laboratory for the ABP, as well  as the specific requirements to conduct Analytical Testing during Major Events.

In order to harmonize the accreditation of Laboratories to the requirements of ISO/IEC 17025  and the approval of ABP Laboratories to the requirements of ISO/IEC 17025 (or ISO 15189),  as well as the WADA-specific requirements for accreditation or approval, Accreditation Bodies  are required to use the ISL, including the applicable Annexes, Technical Documents,  Technical Letters and Laboratory Guidelines as reference documents in their assessment  process.

[Comment: While Laboratories are required to be accredited to the requirements of ISO/IEC 17025  (applicable to testing and calibration laboratories), ABP Laboratories may be accredited to either the  ISO/IEC 17025 or ISO 15189 (applicable to medical laboratories) standards].

Maintenance of a laboratory’s WADA accreditation or approval for the ABP is based on  satisfactory performance in the applicable EQAS and in routine Analytical Testing. The EQAS performance of Laboratories and ABP Laboratories is continually monitored by WADA and  reviewed as part of their Accreditation Body assessment process, as applicable. Therefore,  the Laboratory or ABP Laboratory shall not be subject to challenge or to demands to produce  EQAS data or related EQAS documentation by third parties.

2 Effective version of ISO/IEC 17025.

ISL – January 2021 Page 12 of 160

Terms used in this International Standard that are defined terms from the Code are italicized. Terms  that are defined in this or another International Standard are underlined.

2.0 Code Provisions

The following articles in the 2021 Code are directly relevant to the International Standard for  Laboratories, they can be obtained by referring to the Code itself:

• Code Article 2 Anti-doping Rule Violations

• Code Article 3 Proof of Doping

• Code Article 4 The Prohibited List

• Code Article 6 Analysis of Samples

• Code Article 10 Sanctions of Individuals

• Code Article 13 Results Management: Appeals

• Code Article 14 Confidentiality and Reporting

3.0 Definitions and Interpretations

3.1 Defined terms from the 2021 Code that are used in the International Standard for  Laboratories

ADAMS: The Anti-Doping Administration and Management System is a Web-based database  management tool for data entry, storage, sharing, and reporting designed to assist  stakeholders and WADA in their anti-doping operations in conjunction with data protection  legislation.

Adverse Analytical Finding: A report from a WADA-accredited laboratory or other WADA approved laboratory that, consistent with the International Standard for Laboratories  establishes in a Sample the presence of a Prohibited Substance or its Metabolites or Markers or evidence of the Use of a Prohibited Method.

Anti-Doping Organization: WADA or a Signatory that is responsible for adopting rules for  initiating, implementing or enforcing any part of the Doping Control process. This includes, for  example, the International Olympic Committee, the International Paralympic Committee, other  Major Event Organizations that conduct Testing at their Events, International Federations, and  National Anti-Doping Organizations.

Athlete: Any Person who competes in sport at the international level (as defined by each  International Federation) or the national level (as defined by each National Anti-Doping  Organization). An Anti-Doping Organization has discretion to apply anti-doping rules to an  Athlete who is neither an International-Level Athlete nor a National-Level Athlete, and thus to  bring them within the definition of “Athlete.” In relation to Athletes who are neither International-

ISL – January 2021 Page 13 of 160

Level nor National-Level Athletes, an Anti-Doping Organization may elect to: conduct limited  Testing or no Testing at all; analyze Samples for less than the full menu of Prohibited  Substances; require limited or no whereabouts information; or not require advance TUEs.  However, if an Article 2.1, 2.3 or 2.5 anti-doping rule violation is committed by any Athlete over  whom an Anti-Doping Organization has elected to exercise its authority to test and who  competes below the international or national level, then the Consequences set forth in the  Code must be applied. For purposes of Article 2.8 and Article 2.9 and for purposes of anti doping information and education, any Person who participates in sport under the authority of  any Signatory, government, or other sports organization accepting the Code is an Athlete.

[Comment: Individuals who participate in sport may fall in one of five categories: 1) International Level Athlete, 2) National-Level Athlete, 3) individuals who are not International or National-Level  Athletes but over whom the International Federation or National Anti-Doping Organization has chosen  to exercise authority, 4) Recreational Athlete, and 5) individuals over whom no International Federation  or National Anti-Doping Organization has, or has chosen to, exercise authority. All International and  National-Level Athletes are subject to the anti-doping rules of the Code, with the precise definitions of  international and national level sport to be set forth in the anti-doping rules of the International  Federations and National Anti-Doping Organizations.]

Athlete Biological Passport (ABP): The program and methods of gathering and collating  data as described in the International Standard for Testing and Investigations and International  Standard for Laboratories.

Atypical Finding: A report from a WADA-accredited laboratory or other WADA-approved  laboratory, which requires further investigation as provided by the International Standard for  Laboratories or related Technical Documents prior to the determination of an Adverse  Analytical Finding.

CAS: The Court of Arbitration for Sport.

Code: The World Anti-Doping Code.

Competition: A single race, match, game or singular sport contest. For example, a basketball  game or the finals of the Olympic 100-meter race in athletics. For stage races and other sport  contests where prizes are awarded on a daily or other interim basis the distinction between a  Competition and an Event will be as provided in the rules of the applicable International  Federation.

Consequences of Anti-Doping Rule Violations (“Consequences”): An Athlete’s or other  Person’s violation of an anti-doping rule may result in one or more of the following: (a)  Disqualification means the Athlete’s results in a particular Competition or Event are invalidated,  with all resulting Consequences including forfeiture of any medals, points and prizes; (b)  Ineligibility means the Athlete or other Person is barred on account of an anti-doping rule  violation for a specified period of time from participating in any Competition or other activity or  funding as provided in Article 10.12.1; (c) Provisional Suspension means the Athlete or other  Person is barred temporarily from participating in any Competition or activity prior to the final  decision at a hearing conducted under Article 8; (d) Financial Consequences means a financial  sanction imposed for an anti-doping rule violation or to recover costs associated with an anti doping rule violation; and (e) Public Disclosure means the dissemination or distribution of  information to the general public or Persons beyond those Persons entitled to earlier

ISL – January 2021 Page 14 of 160

notification in accordance with Article 14. Teams in Team Sports may also be subject to  Consequences as provided in Article 11.

Decision Limit: The value of the result for a Threshold Substance in a Sample, above which  an Adverse Analytical Finding shall be reported, as defined in the International Standard for  Laboratories.

Delegated Third Parties: Any Person to which an Anti-Doping Organization delegates any  aspect of Doping Control or anti-doping Education programs including, but not limited to, third  parties or other Anti-Doping Organizations that conduct Sample collection or other Doping  Control services or anti-doping Educational programs for the Anti-Doping Organization, or  individuals serving as independent contractors who perform Doping Control services for the  Anti-Doping Organization (e.g., non-employee Doping Control officers or chaperones) This  definition does not include CAS.

Doping Control: All steps and processes from test distribution planning through to ultimate  disposition of any appeal and the enforcement of Consequences, including all steps and  processes in between, including but not limited to, Testing, investigations, whereabouts, TUEs,  Sample collection and handling, laboratory analysis, Results Management, and investigations  or proceedings relating to violations of Article 10.14 (Status During Ineligibility or Provisional  Suspension).

Event: A series of individual Competitions conducted together under one ruling body (e.g.,  the Olympic Games, World Championships of an International Federation or Pan American  Games).

In-Competition: The period commencing at 11: 59 pm on the day before a Competition in  which the Athlete is scheduled to participate through the end of such Competition and the  Sample collection process related to such Competition. Provided, however, WADA may  approve, for a particular sport, an alternative definition if an International Federation provides  a compelling justification that a different definition is necessary for its sport; upon such approval  by WADA, the alternative definition shall be followed by all Major Event Organizations for that  particular sport.

[Comment: Having a universally accepted definition for In-Competition provides greater harmonization  among Athletes across all sport, eliminates or reduces confusion among Athletes about the relevant  timeframe for In-Competition Testing, avoids inadvertent Adverse Analytical Findings in between  Competitions during an Event and assists in preventing any potential performance enhancement  benefits from substances prohibited Out-of-Competition being carried over to the Competition.]

Ineligibility: See Consequences of Anti-Doping Rule Violations above.

International Standard: A standard adopted by WADA in support of the Code. Compliance  with an International Standard (as opposed to another alternative standard, practice or  procedure) shall be sufficient to conclude that the procedures addressed by the International  Standard were performed properly. International Standards shall include any Technical  Documents issued pursuant to the International Standard.

Major Event Organizations: The continental associations of National Olympic Committees and other international multi-sport organizations that function as the ruling body for any  continental, regional or other International Event.

ISL – January 2021 Page 15 of 160

Marker: A compound, group of compounds or biological variable(s) that indicates the Use of  a Prohibited Substance or Prohibited Method.

Metabolite: Any substance produced by a biotransformation process.

Minimum Reporting Level: The estimated concentration of a Prohibited Substance or its  Metabolite(s) or Marker(s) in a Sample below which WADA-accredited laboratories should not  report that Sample as an Adverse Analytical Finding.

National Anti-Doping Organization: The entity(-ies) designated by each country as  possessing the primary authority and responsibility to adopt and implement anti-doping rules,  direct the collection of Samples, the management of test results, and the conduct of hearings  at the national level. If this designation has not been made by the competent public authority(- ies), the entity shall be the country’s National Olympic Committee or its designee.

National Olympic Committee: The organization recognized by the International Olympic  Committee. The term National Olympic Committee shall also include the National Sport  Confederation in those countries where the National Sport Confederation assumes typical  National Olympic Committee responsibilities in the anti-doping area.

Out-of-Competition: Any period which is not In-Competition.

Person: A natural Person or an organization or other entity.

Prohibited List: The List identifying the Prohibited Substances and Prohibited Methods. Prohibited Method: Any method so described on the Prohibited List.

Prohibited Substance: Any substance, or class of substances, so described on the  Prohibited List.

Results Management: The process encompassing the timeframe between notification as per  Article 5 of the International Standard for Results Management, or in certain cases (e.g.,  Atypical Finding, Athlete Biological Passport, Whereabouts Failure), such pre-notification steps  expressly provided for in Article 5 of the International Standard for Results Management,  through the charge until the final resolution of the matter, including the end of the hearing  process at first instance or on appeal (if an appeal was lodged).

Sample or Specimen: Any biological material collected for the purposes of Doping Control.

Signatories: Those entities signing the Code and agreeing to comply with the Code, as  provided in Article 23.

Tampering: Intentional conduct which subverts the Doping Control process, but which would  not otherwise be included in the definition of Prohibited Methods. Tampering shall include,  without limitation, offering or accepting a bribe to perform or fail to perform an act, preventing  the collection of a Sample, affecting or making impossible the analysis of a Sample, falsifying  documents submitted to an Anti-Doping Organization or TUE committee or hearing panel,  procuring false testimony from witnesses, committing any other fraudulent act upon the Anti Doping Organization or hearing body to affect Results Management or the imposition of  Consequences, and any other similar intentional interference or Attempted interference with  any aspect of Doping Control.

Target Testing: Selection of specific Athletes for Testing based on criteria set forth in the  International Standard for Testing and Investigations.

ISL – January 2021 Page 16 of 160

Technical Document: A document adopted and published by WADA from time to time  containing mandatory technical requirements on specific anti-doping topics as set forth in an  International Standard.

Testing: The parts of the Doping Control process involving test distribution planning, Sample  collection, Sample handling, and Sample transport to the laboratory.

Therapeutic Use Exemption (TUE): A Therapeutic Use Exemption allows an Athlete with a  medical condition to Use a Prohibited Substance or Prohibited Method, but only if the  conditions set out in Article 4.4 and the International Standard for Therapeutic Use Exemptions are met.

Use: The utilization, application, ingestion, injection or consumption by any means whatsoever  of any Prohibited Substance or Prohibited Method.

WADA: The World Anti-Doping Agency.

3.2 Defined Terms from the International Standard for Laboratories

ABP Laboratory: A laboratory not otherwise accredited by WADA, which is approved by  WADA to apply Analytical Methods and processes in support of the hematological module of  the ABP program and in accordance with the criteria for approval of non-accredited  laboratories for the ABP.

Aliquot: A portion of the Sample of biological fluid (e.g. urine, blood) obtained from the  Athlete used in the analytical process.

Analyte: Also known as or referred to as a substance, compound or measurand, which is  analyzed and/or determined in a biological matrix using an Analytical Testing Procedure performed under controlled analytical and laboratory conditions. For anti-doping purposes, an  Analyte may be a Prohibited Substance, a Metabolite of a Prohibited Substance, or a Marker of the Use of a Prohibited Substance or Prohibited Method.

Analytical Method: Analytical Testing Procedure, Test Method.

Analytical Testing: The parts of the Doping Control process performed at the Laboratory,  which include Sample handling, analysis and reporting of results.

Analytical Testing Procedure: A Fit-for-Purpose procedure, as demonstrated through  method validation, and used to detect, identify and/or quantify Analytes in a Sample for Doping  Control purposes in accordance with the ISL and relevant Technical Document(s), Technical  Letter(s) or Laboratory Guidelines. An Analytical Testing Procedure is also referred to or  known as an Analytical Method or Test Method.

Analytical Testing Restriction (ATR): Restriction on a Laboratory’s application of specified  Analytical Testing Procedure(s) or the analysis of a particular class(es) of Prohibited  Substances or Prohibited Methods to Samples, as determined by WADA.

Athlete Passport Management Unit (APMU): A unit composed of a Person or Persons that  is responsible for the timely management of Athlete Biological Passports in ADAMS on behalf  of the Passport Custodian.

Bias (b): Deviation of a measured result from the expected or reference value when using  the complete measurement procedure.

ISL – January 2021 Page 17 of 160

Certificate of Analysis: The material produced by a Laboratory or ABP Laboratory upon  request by an APMU, Expert Panel, or WADA as set forth in the Technical Document on  Laboratory Documentation Packages (TD LDOC), to support an analytical result for a Sample that is judged to confirm the baseline level of a urine or blood Marker of the Athlete Biological  Passport.

Certified Reference Material (CRM): Reference Material (RM), characterized by a  metrologically valid procedure for one or more specified properties, which is accompanied by  a certificate that provides the value of the specified property, its associated uncertainty, and  a statement of metrological traceability.

Confirmation Procedure (CP): An Analytical Testing Procedure that has the purpose of  confirming the presence and/or, when applicable, confirming the concentration/ratio/score  and/or establishing the origin (exogenous or endogenous) of one or more specific Prohibited  Substances, Metabolite(s) of a Prohibited Substance, or Marker(s) of the Use of a Prohibited  Substance or Prohibited Method in a Sample.

Corrective Action Report (CAR): A report describing the Root Cause Analysis investigation  of a detected nonconformity and the corrective actions implemented to rectify it. If appropriate,  it shall also describe the improvements adopted to minimize the risk of recurrence of the  nonconformity.

[Comment: The term “Corrective Action” is widespread in the ISO standards for laboratories and it is  used to describe the actions that ought to be taken by a laboratory in cases of nonconformities that  occur during the performance of its work. This term is recognized as one of the minimum items that the  laboratory Management System shall address. Thus, corrective action reports (CARs) are used by  accreditation bodies all over the world to understand and assess the treatment of nonconformities by  laboratories, including an analysis of the extent and cause (i.e. root cause analysis) of the  nonconformities.]

External Quality Assessment Scheme (EQAS): Program for quality assessment of  Laboratory performance, which includes the periodical distribution of urine or blood samples  to Laboratories and probationary laboratories by WADA, to be analyzed for the presence or  absence of Prohibited Substances and/or their Metabolite(s), or Marker(s) of Use of Prohibited  Substances or Prohibited Methods. The EQAS includes also the provision of blood samples  to ABP Laboratories for the analysis of the blood Markers of the Athlete Biological Passport.  EQAS samples may be open (i.e. educational; in such cases the content may be indicated),  blind or double-blind (in such cases the content is unknown to the Laboratories).

Fit(ness)-for-Purpose: Suitable for the intended purpose and in conformity with the ISO/IEC  17025 or ISO 15189, as applicable, the ISL and relevant Technical Document(s) and  Technical Letter(s).

Flexible Scope of ISO/IEC 17025 Accreditation: Status of laboratory accreditation, which  allows a Laboratory to make and implement restricted modifications in the Scope of ISO/IEC  17025 Accreditation, as applicable, prior to the assessment by the Accreditation Body. See  Article 4.4.2.2 for a detailed description of Flexible Scope of ISO/IEC 17025 Accreditation.

[Comment: The concept of flexible scope of accreditation may also be applied, as determined by the  Accreditation Body, to the analysis of ABP blood Markers when included in the scope of ISO 15189  accreditation of ABP Laboratories.]

ISL – January 2021 Page 18 of 160

Further Analysis: Further Analysis, as this term is used in the ISL, occurs when a Laboratory conducts additional analysis on an “A” Sample or a “B” Sample after an analytical result for  that “A” Sample or that “B” Sample has been reported by the Laboratory.

[Comment: There is no limitation on a Laboratory’s authority to conduct repeat or confirmation  analysis, or to analyze a Sample with additional Analytical Methods, or to perform any other type of  additional analysis on an “A” Sample or “B” Sample prior to reporting an analytical result on that Sample.  That is not considered Further Analysis.

If a Laboratory is to conduct additional analysis on an “A” Sample or “B” Sample after an analytical  result for that Sample has been reported (for example: additional Sample analysis to detect EPO, or  GC/C/IRMS analysis, or analysis in connection with the Athlete Biological Passport or additional  analysis on a stored Sample) it may do so after receiving approval from the Testing Authority or Results  Management Authority (if different) or WADA. However, after an Athlete has been charged with a Code  Article 2.1 anti-doping rule violation based on the presence of a Prohibited Substance, Metabolite(s) of  a Prohibited Substance, or Marker(s) of the Use of a Prohibited Substance or Prohibited Method in a  Sample, then Further Analysis on that Sample may only be performed with the consent of the Athlete  or approval from a hearing body (see Code Article 6.5).

Further Analysis may be performed by the same Laboratory that did the original Analytical Testing, or  by a different Laboratory or other WADA-approved laboratory, at the direction of the Testing Authority or Results Management Authority (if different) or WADA. Any other Anti-Doping Organization that  wishes to conduct Further Analysis on a stored Sample may do so with the permission of the Testing  Authority or Results Management Authority (if different) or WADA and shall be responsible for any  follow-up Results Management. Any Sample storage or Further Analysis initiated by WADA or another  Anti-Doping Organization shall be at WADA’s or that Anti-Doping Organization’s expense.]

Independent Witness: A Person, invited by the Testing Authority, the Laboratory or WADA  to witness the opening and initial aliquoting of an Athlete’s “B” Sample. An Independent  Witness shall not be an employee or have a personal financial relationship with the Athlete or  his/her representative(s), the Laboratory, the Sample Collection Authority, the Testing Authority / Delegated Third Parties / Results Management Authority or WADA, as applicable.  However, the Independent Witness may be indemnified for his/her service.

Initial Testing Procedure (ITP): An Analytical Testing Procedure whose purpose is to  identify those Samples which may contain a Prohibited Substance, Metabolite(s) of a  Prohibited Substance, or Marker(s) of the Use of a Prohibited Substance or Prohibited Method or an elevated quantity of a Prohibited Substance, Metabolite(s) of a Prohibited Substance,  or Marker(s) of the Use of a Prohibited Substance or Prohibited Method.

Intermediate Precision (sw): Variation in results observed when one or more factors, such  as time, equipment, or operator are varied within a Laboratory. It is also referred to as inter batch / inter-run precision.

Laboratory Internal Chain of Custody: Documentation maintained within the Laboratory to  record the chronological traceability of custody (by Person(s) or upon storage) and actions  performed on the Sample and any Aliquot of the Sample taken for Analytical Testing.

[Comment: Laboratory Internal Chain of Custody is generally documented by a written or electronic  record of the date, location, action taken, and the Person performing an action with a Sample or Aliquot.]

Laboratory: A WADA-accredited laboratory applying Test Methods and processes to provide  evidentiary data for the detection and/or identification of Prohibited Substances or Prohibited Methods on the Prohibited List and, if applicable, quantification of a Threshold Substance in  Samples of urine and other biological matrices in the context of Doping Control activities.

ISL – January 2021 Page 19 of 160

Laboratory Expert Group (LabEG): Group of laboratory experts responsible for providing  advice, recommendations and guidance to WADA with respect to the overall management of  anti-doping Laboratory accreditation and ABP approval, Laboratory and ABP Laboratory disciplinary action, re-accreditation and approval processes as well as Laboratory and ABP Laboratory monitoring activities.

Laboratory Guidelines (LGs): Recommendations of Laboratory best practice provided by  WADA to address specific Laboratory operations or to provide technical requirements and  guidance on interpretation and reporting of results for the analysis of specific Prohibited  Substance(s) and/or Prohibited Method(s) or on the application of specific Laboratory

procedures.

[Comment: Laboratory Guidelines are posted on WADA’s website, are not of mandatory application  and may be later incorporated, partially or in full, in Technical Document(s) or in the ISL. Laboratory  Guidelines are approved by the LabEG].

Laboratory Documentation Package (LDP): The material produced by a Laboratory upon  request by the Testing Authority, Results Management Authority or WADA, as set forth in the  Technical Document on Laboratory Documentation Packages (TD LDOC), to support an  analytical result such as an Adverse Analytical Finding or an Atypical Finding.

Limit of Detection (LOD): Analytical parameter of assay technical performance. Lowest  concentration of an Analyte in a Sample that can be routinely detected, but not necessarily  identified or quantified, under the stated Test Method conditions.

Limit of Identification (LOI): Analytical parameter of technical performance for  chromatographic-mass spectrometric Confirmation Procedures. The LOI is estimated during  method validation to evaluate the rate of false negative results at a certain concentration level.  The LOI of a Test Method, at 5% false negative rate, for an Analyte (for which a Reference  Material is available) shall be less than the MRPL.

[Comment: Since the LOI is an estimation of the false negative rate, Laboratories may report findings  below the estimated LOI as Adverse Analytical Findings or Atypical Findings, as applicable, when the  Analyte is identified in the Sample according to the criteria established in the Technical Document on  chromatographic-mass spectrometric identification criteria (TD IDCR).]

Limit of Quantification (LOQ): Analytical parameter of assay technical performance. Lowest  concentration of an Analyte in a Sample that can be quantitatively determined with acceptable  precision and accuracy (i.e. acceptable Measurement Uncertainty) under the stated Test  Method conditions.

Major Event: A series of individual international Competitions conducted together under an  international multi-sport organization functioning as a ruling body (e.g. the Olympic Games,  Pan American Games).

Measurement Uncertainty (MU): Parameter associated with a measurement result that  characterizes the dispersion of quantity values attributed to the measure and provides  confidence in the validity of the measured result [see Technical Document on Decision Limits (TD DL)].

Minimum Required Performance Level (MRPL): Minimum analytical criterion of Laboratory technical performance established by WADA. Minimum concentration at which a Laboratory is expected to consistently detect and confirm a Prohibited Substance or Metabolite of a

ISL – January 2021 Page 20 of 160

Prohibited Substance or Marker of a Prohibited Substance or Prohibited Method in the routine  daily operation of the Laboratory. Individual Laboratories may and are expected to achieve  better performance [see Technical Document on Minimum Required Performance Levels (TD  MRPL)].

Negative Finding: A test result from a Laboratory which, in accordance with the effective ISL  and/or relevant Technical Document(s) and/or Technical Letter(s), concludes that no  Prohibited Substance(s) or its Metabolite(s) or Marker(s) or evidence of the Use of a  Prohibited Method(s), included in the requested Analytical Testing menu, were found in a  Sample based on the applied Initial Testing Procedure(s) or Confirmation Procedure(s).

Non-Threshold Substance: A substance listed on the Prohibited List for which the  identification, in compliance with the Technical Document on chromatographic-mass  spectrometric identification criteria (TD IDCR) or other applicable Technical Document(s), constitutes an Adverse Analytical Finding.

Presumptive Adverse Analytical Finding (PAAF): The status of a Sample test result from  the Initial Testing Procedure which represents a suspicious finding, but for which a  Confirmation Procedure to render a conclusive test result has not yet been performed.

Provisional Suspension: Temporary Suspension of a Laboratory’s WADA accreditation or  a laboratory’s ABP approval pending a final decision by WADA regarding its accreditation  status.

Reference Collection (RC): A collection of samples or isolates of known origin that may be  used in the determination of the identity of an unknown substance. For example, a well characterized sample obtained from a controlled administration or from in vitro studies in  which the presence of the substance of interest has been established.

Reference Material (RM): Reference Substance or Reference Standard, which is sufficiently  characterized, homogeneous and stable with respect to one or more specified properties and  that has been established to be fit for its intended use in an Analytical Testing Procedure.

Repeatability (sr): Variability of results obtained within a laboratory using the same method,  over a short time, using a single operator, item of equipment, etc. It is also referred to as intra batch / intra-run precision.

Reproducibility (sR): Variability of results obtained when different laboratories analyze  Aliquots of the same sample. Reproducibility is a property of the results obtained and  represents a measurable agreement of analytical results between different laboratories.

Revocation: The permanent withdrawal of a Laboratory’s WADA accreditation or a  laboratory’s ABP approval.

Root Cause Analysis (RCA): An investigation to identify one or more fundamental cause(s)  of a nonconformity based on the collection of objective evidence from an assessment of the  likely factors that led to the nonconformity. The removal of a root cause factor prevents the  recurrence of the nonconformity; in contrast, removing a causal factor can improve the  outcome, but it does not prevent the recurrence of the problem with certainty.

Selectivity: The ability of the Analytical Testing Procedure to detect or identify, as applicable,  the substance of interest in the Sample.

Suspension: The temporary withdrawal of a Laboratory’s WADA accreditation or a  laboratory’s ABP approval.

ISL – January 2021 Page 21 of 160

Technical Letter (TL): Mandatory technical requirements provided by WADA from time to  time (ad-hoc) to address particular issues on the analysis, interpretation and reporting of  specific Prohibited Substance(s) and/or Prohibited Method(s) or on the application of specific  Laboratory or ABP Laboratory procedures.

[Comment: Technical Letters are approved by the WADA Executive Committee and posted on  WADA’s website. Technical Letters become effective immediately, unless otherwise specified by  WADA].

Technical Note (TN): Technical guidance provided by WADA to Laboratories on the  performance of specific Laboratory methods or procedures.

[Comment: Technical Notes are not considered part of Technical Documents and therefore are not of  mandatory application. Technical Notes are approved by the LabEG and become effective  immediately].

Test Method: Analytical Testing Procedure, Analytical Method.

Threshold: The maximum permissible level of the concentration, ratio or score for a  Threshold Substance in a Sample. The Threshold is used to establish the Decision Limit for  reporting an Adverse Analytical Finding or Atypical Finding for a Threshold Substance.

Threshold Substance: An exogenous or endogenous Prohibited Substance, Metabolite or Marker of a Prohibited Substance for which the identification and quantitative determination  (e.g. concentration, ratio, score) in excess of a pre-determined Decision Limit, or, when  applicable, the establishment of an exogenous origin, constitutes an Adverse Analytical  Finding. Threshold Substances are identified as such in the Technical Document on Decision  Limits (TD DL).

3.3 Defined Terms from the International Standard for Testing and Investigations

Sample Collection Authority: The organization that is responsible for the collection of  Samples in compliance with the requirements of the International Standard for Testing and  Investigations, whether (1) the Testing Authority itself; or (2) a Delegated Third Party to whom  the authority to conduct Testing has been granted or sub-contracted. The Testing Authority

always remains ultimately responsible under the Code for compliance with the requirements  of the International Standard for Testing and Investigations relating to collection of Samples.

Sample Collection Session: All of the sequential activities that directly involve the Athlete from the point that initial contact is made until the Athlete leaves the Doping Control Station after having provided their Sample(s).

Suitable Volume of Urine for Analysis: A minimum of 90 mL, whether the Laboratory will  be analyzing the Sample for all or only some Prohibited Substances or Prohibited Methods.

Test Distribution Plan: A document written by an Anti-Doping Organization that plans  Testing on Athletes over whom it has Testing Authority, in accordance with the requirements  of Article 4 of the International Standard for Testing and Investigations.

Testing Authority: The Anti-Doping Organization that authorizesTesting on Athletes it has  authority over. It may authorize a Delegated Third Party to conduct Testing pursuant to the  authority of and in accordance with the rules of the Anti-Doping Organization. Such

ISL – January 2021 Page 22 of 160

authorization shall be documented. The Anti-Doping Organization authorizing Testing  remains the Testing Authority and ultimately responsible under the Code to ensure the Delegated Third Party conducting the Testing does so in compliance with the requirements of  the International Standard for Testing and Investigations.

3.4 Defined Terms from the International Standard for Results Management

Passport: A collation of all relevant data unique to an individual Athlete that may include  longitudinal profiles of Markers, heterogeneous factors unique to that particular Athlete and  other relevant information that may help in the evaluation of Markers.

Passport Custodian: The Anti-Doping Organization responsible for Result Management of  the Athlete’s Passport and for sharing any relevant information associated to that Athlete’s  Passport with other Anti-Doping Organization(s).

Results Management Authority: The Anti-Doping Organization responsible for conducting  Results Management in a given case.

3.5 Interpretation

3.5.1 The official text of the International Standard for Laboratories shall be published in  English and French. In the event of any conflict between the English and French  versions, the English version shall prevail.

3.5.2 Like the Code, the International Standard for Laboratories has been drafted giving  consideration to the principles of proportionality, human rights, and other applicable  legal principles. It shall be interpreted and applied in that light.

3.5.3 The comments annotating various provisions of the International Standard for  Laboratories shall be used to guide its interpretation.

3.5.4 Unless otherwise specified, references to Sections and Articles are references to  Sections and Articles of the International Standard for Laboratories.

3.5.5 Where the term “days” is used in the International Standard for Laboratories, it shall  mean calendar days unless otherwise specified.

3.5.6 The Annexes to the International Standard for Laboratories have the same mandatory  status as the rest of the International Standard.

ISL – January 2021 Page 23 of 160

PART TWO: LABORATORY ACCREDITATION AND LABORATORY  APPROVAL FOR THE ABP REQUIREMENTS AND OPERATING STANDARDS

4.0 Process and Requirements for WADA Laboratory Accreditation and Laboratory  Approval for the ABP

This section describes the specific requirements that a laboratory shall fulfill in the process of  applying for, obtaining, and maintaining WADA accreditation or WADA approval for the ABP.

4.1 Applicant Laboratory for WADA Accreditation

In principle, any laboratory that satisfies the criteria listed below may apply to become a  candidate laboratory for WADA accreditation. However, the WADA Executive Committee, at  its sole discretion, may accept or deny a laboratory’s candidacy application based on the  identified needs (or lack thereof) for anti-doping Analytical Testing on a regional or national  scale, or for any other reason(s).

4.1.1 Expression of Interest

The applicant laboratory shall officially contact WADA in writing to express its interest  in becoming a WADA-accredited laboratory.

4.1.2 Submit Initial Application Form

The applicant laboratory shall submit a completed Application Form, provided by  WADA, duly signed by the laboratory Director and, if relevant, by the Director of the  host organization (e.g. university, hospital, public institution).

An applicant laboratory may only submit an application if its host country satisfies the  following conditions:

- The existence of a National Anti-Doping Program conducted by a National Anti Doping Organization and/or a Regional Anti-Doping Organization, which is  compliant with the Code and the International Standards of the World Anti-Doping  Program;

- The ratification of the UNESCO Convention against Doping in Sport; and

- The payment of the annual financial contributions to WADA.

These conditions shall be documented as part of the application.

4.1.3 Provision of Letters of Support

Upon receipt of an application and verification of the conditions mentioned above,  WADA shall request that the applicant laboratory submit the following letters of  support:

- Official letter(s) of support from host organizations acceptable to WADA (e.g.  universities, hospitals, private organizations and/or public institutions) that

ISL – January 2021 Page 24 of 160

guarantee sufficient annual financial support for a minimum of three (3) years, the  provision of adequate analytical facilities, instrumentation and human resources,  as well as support for training programs, research and development activities;

- Official letter(s) of support from Signatories, such as a National Anti-Doping  Organization or Regional Anti-Doping Organization responsible for a National Anti Doping Program, or an International Federation responsible for an International Anti-Doping Program. Such letter(s) of support shall indicate a commitment to  provide the Laboratory with a minimum of 3,000 Samples per year by the end of  the second calendar year after obtaining WADA accreditation;

[Comment: To determine the minimum number of Samples, each urine Sample, blood  Sample and ABP blood Sample analyzed by the Laboratory shall count as an individual  Sample.]

- A declaration by the supporting Signatory(-ies) that their relationship with the  applicant laboratory is compliant with Article 4.4.2.4.

4.1.4 Provision of Business Plan

WADA shall request the applicant laboratory to submit a business plan, which shall  include market considerations (clients, number of Samples, maintenance costs, etc.),  facility, instrumental, staffing and training needs, and shall guarantee the long-term  provision of adequate financial and human resources to the laboratory.

4.2 Candidate Laboratory for WADA Accreditation

The application materials described in Articles 4.1.1 to 4.1.4 shall be evaluated by the WADA Executive Committee to determine whether the applicant laboratory will be granted WADA candidate laboratory status and thereby continue within the WADA accreditation process. Additional supporting documentation may be requested by, and at the discretion of, the WADA Executive Committee.

4.2.1 Description of the Candidate Laboratory

Once approved by the WADA Executive Committee, the candidate laboratory shall  complete a detailed questionnaire provided by WADA and submit it to WADA within  eight (8) weeks following receipt. The questionnaire will include, but is not limited to,  the following:

- Staff list and their qualifications, including description of any relevant anti-doping  experience and a list of relevant scientific publications by laboratory staff;

- Description of the physical laboratory facilities, including a description of the  security considerations for Samples and records. The laboratory facilities shall  include ample analytical and administrative space to allow separate, restricted and  dedicated areas for analytical and administrative operations.

o Physical Security: specific measures to maintain secure and restricted access

ISL – January 2021 Page 25 of 160

to the laboratory facility and a controlled internal laboratory environment (e.g.

dedicated and restricted Sample storage areas, CCTV monitoring);

o IT Security: implementation of firewalls and other cyber security measures  consistent with best practice and any applicable governmental regulations (see

Article 5.2.3.5);

o Information Technology (IT) infrastructure: implementation of a data and information management system (e.g. LIMS), central server/intranet which

allows secure data handling (see Article 5.2.3.5).

- List of actual and proposed instrumental resources and equipment, including year  of purchase and conditions for technical support (e.g. contract/access to  instrument manufacturer maintenance services);

- List of validated Initial Testing Procedures and Confirmation Procedures, including  target Analytes and Limits of Detection (LODs), Limits of Identification (LOIs) and,  where applicable, Limits of Quantification (LOQs) and Measurement Uncertainties (MU);

- Status of method development and validation, including, at minimum, all  mandatory Analytical Methods and method validation reports (if completed);

- List of available Reference Materials and Reference Collections, or plans to  acquire Reference Materials or obtain Reference Collections;

- Plans to ensure compliance with laboratory independence and impartiality  requirements before receiving WADA accreditation (see Article 4.4.2.4);

- List of laboratory sponsors;

- Contract or Memorandum of Understanding with a Laboratory, which will provide  mentoring and training for at least the period spanning the probationary phase of  accreditation;

[Comment: Candidate laboratories are encouraged to establish agreement(s) with a  Laboratory(-ies) for mentoring and training, at least, up to the end of the probationary phase of  accreditation in order to ensure successful preparation towards obtaining the WADA  accreditation.

An authorization for the candidate laboratory to receive sensitive anti-doping information (e.g.  methodological or technological information, Technical Notes) and/or to obtain access to  specific, WADA-developed anti-doping tests or materials (e.g. kits, Reference Materials) may  be approved by WADA on a case-by-case basis according to the documented roadmap,  business plan and the progress made during the accreditation process and subject to the  candidate laboratory entering into a confidentiality agreement with WADA and/or the  Laboratory(-ies) that will provide the information and/or access to the aforementioned tests and  materials.]

- Status of ISO/IEC 17025 accreditation;

- Description of customs regulations in the host country with respect to the reception

ISL – January 2021 Page 26 of 160

of urine and blood samples, Reference Materials and consumables from abroad  and the ability to ship samples outside the country as needed;

- A description of how the principles of the Code of Ethics (Annex A) are integrated  into the laboratory Management System. A letter of compliance with the Code of  Ethics (Annex A) signed by the laboratory Director shall be provided.

WADA may require an update of this documentation during the process of  accreditation.

4.2.2 Payment of Initial Accreditation Fee

Prior to entering the probationary period, the candidate laboratory shall pay WADA a  one-time non-refundable fee to cover the costs related to the initial accreditation  process. This fee shall be determined by WADA.

4.2.3 Compliance with the Code of Ethics (Annex A)

The candidate laboratory shall implement and comply with the provision(s) of the Code  of Ethics. Candidate laboratories shall not conduct any anti-doping Analytical Testing activities for Signatories or WADA and shall not accept Samples directly from  individual Athletes or from individuals or organizations acting on their behalf.

The Director of the candidate laboratory shall provide the Code of Ethics to all  employees and ensure their understanding and compliance with all aspects of the  Code of Ethics.

4.2.4 Laboratory Independence and Impartiality

As a condition to enter the probationary period, the candidate laboratory shall provide  documentation to WADA demonstrating that, before obtaining WADA accreditation,  they will comply with the requirements of Laboratory independence and impartiality  indicated in Article 4.4.2.4.

4.2.5 Pre-Probationary Test and On-Site Assessment

Prior to entering the probationary period, WADA shall conduct a pre-probationary test  (PPT) and on-site assessment of the candidate laboratory at the candidate  laboratory’s expense. The purpose of this assessment is to obtain information about  different aspects of the laboratory’s competence and to clarify any issues with regard  to the accreditation process, which are relevant for the WADA accreditation.

As part of the PPT, the candidate laboratory shall be required to analyze at least ten  (10) blind EQAS samples. The general composition and content of the blind EQAS samples and the evaluation of laboratory EQAS results are described in Sections 6.0 and 7.0, respectively.

The candidate laboratory shall report the results for the PPT blind EQAS samples in  ADAMS (in compliance with Article 6.3.1) within a period of twenty (20) days, unless  otherwise notified by WADA.

ISL – January 2021 Page 27 of 160

- Upon request, the candidate laboratory shall provide WADA with a Laboratory  Documentation Package for selected EQAS samples for which there is an Adverse  Analytical Finding. Additional data may be required upon WADA’s request. This  documentation shall be submitted within ten (10) days of WADA’s request or as  otherwise indicated by WADA;

- For selected EQAS samples with Negative Findings, WADA may request all or a  portion of the Initial Testing Procedure data.

After receiving the PPT EQAS results, WADA shall inform the candidate laboratory of  the evaluation of its performance and provide guidance for improvement. Corrective  actions, if any, shall be conducted and reported by the candidate laboratory to WADA within thirty (30) days, or as otherwise indicated by WADA.

In addition, WADA shall provide an Assessment Report regarding the outcomes of the  on-site assessment, including any identified nonconformity(-ies), in order to allow the  candidate laboratory to implement the necessary improvements. Corrective actions, if  requested by WADA, shall be conducted and reported by the candidate laboratory to  WADA within thirty (30) days, or as otherwise indicated by WADA.

The nonconformities identified in the WADA Assessment Report shall be satisfactorily  addressed and the recommendations for improvement should be implemented before  the candidate laboratory can be accepted as a WADA probationary laboratory. The  candidate laboratory’s performance in the PPT and on-site assessment will be taken  into account in the overall review of the candidate laboratory’s application and may  affect the timeliness of the candidate laboratory’s entry into the probationary phase of  accreditation.

The maximum length of time during which a laboratory can remain as a candidate laboratory is three (3) years, unless WADA determines that there are exceptional  circumstances that justify an extension of this period.

Upon satisfactory completion of the candidate laboratory requirements (as per Article 4.2), as determined by the LabEG, a candidate laboratory enters the probationary  phase of WADA accreditation as a “WADA probationary laboratory”.

ISL – January 2021 Page 28 of 160

4.3 Probationary Laboratory for WADA Accreditation

4.3.1 Participating in the WADA EQAS Program

During the probationary period, the laboratory shall successfully analyze at least  fifteen (15) blind EQAS samples, distributed over multiple EQAS rounds within a period  of twelve (12) months (see Section 6.0 for a description of the EQAS). During this  period, WADA shall provide feedback to assist the probationary laboratory to improve  the quality of its Analytical Testing process.

The probationary laboratory shall successfully report the results for the blind EQAS samples to WADA in accordance with Article 6.3.1 within a period determined by  WADA. The general composition and content of the blind EQAS samples and the  evaluation of laboratory EQAS results are described in Sections 6.0 and 7.0,  respectively.

4.3.2 Planning and Implementing Research and Development Activities

The probationary laboratory shall develop a plan for its research and development  activities in the field of anti-doping science, for the initial three (3)-year period after  obtaining WADA accreditation, allocating at least 7% of the operational annual budget  expected from activities associated with Signatories.

At least two (2) research and development activities shall be initiated and implemented  within the probationary period. The research activities can either be conducted by the  probationary laboratory alone or in cooperation with other Laboratories or other  research organizations.

[Comment: The validation or implementation of established anti-doping methods with only  minor adjustments, or repetition of research previously published or presented by others, is not  sufficient to be considered as a research and development activity.]

As part of its laboratory monitoring activities, WADA may request documented  evidence of the research and development activities in the field of anti-doping science implemented by the probationary laboratory.

4.3.3 Planning and Implementing Sharing of Knowledge

During the probationary period, the probationary laboratory shall demonstrate its  willingness and ability to collaborate and share knowledge with other Laboratories. A  description of this sharing of knowledge is provided in the Code of Ethics (Annex A).

4.3.4 Compliance with the Code of Ethics (Annex A)

The probationary laboratory shall implement and comply with the provision(s) of the  Code of Ethics. Probationary laboratories shall not conduct any anti-doping Analytical  Testing activities for Signatories or WADA and shall not accept Samples directly from  individual Athletes or from individuals or organizations acting on their behalf.

The Director of the probationary laboratory shall provide the Code of Ethics to all

ISL – January 2021 Page 29 of 160

employees and ensure their understanding and compliance with all aspects of the  Code of Ethics.

4.3.5 Obtaining ISO/IEC 17025 Accreditation by the Laboratory

Before WADA grants accreditation, the probationary laboratory shall obtain ISO/IEC  17025 accreditation from an Accreditation Body, with primary reference to the  interpretation and application of the ISO/IEC 17025 requirements to the analysis of  Samples (see Section 5.0). The Accreditation Body shall be an International  Laboratory Accreditation Cooperation (ILAC) full member that is a signatory to the  ILAC Mutual Recognition Arrangement (ILAC MRA).

The probationary laboratory shall prepare and establish the required documentation  and Management System according to the requirements of ISO/IEC 17025 applicable  to the analysis of Samples (see Section 5.0). Based on this, the laboratory shall initiate  and prepare for the accreditation process by consulting with an Accreditation Body.  The probationary laboratory shall correct and document any identified nonconformities  with the ISO/IEC 17025 standard within the defined timelines.

The Accreditation Body should send a summary of the Assessment Report and any  corrective/preventive action documentation addressing nonconformities, in English or  French, to WADA. Should the probationary laboratory prefer to send the information  directly to WADA, the laboratory shall do so within a reasonable timeline.

The ISO/IEC 17025 accreditation shall be obtained before the end of the probationary  period. This is a critical and mandatory pre-requisite for obtaining WADA accreditation.

4.3.6 Analytical Testing Procedures

Before WADA grants accreditation, probationary laboratories shall provide  documentation to WADA demonstrating that all mandatory Test Methods (e.g. GC/C/IRMS, hGH, GHRF and EPO methods) have been validated and included in the  Laboratory’s Scope of ISO/IEC 17025 accreditation.

4.3.7 Laboratory Independence and Impartiality

Before WADA grants accreditation, probationary laboratories shall provide  documentation to WADA demonstrating compliance with the requirements of  Laboratory independence and impartiality established in Article 4.4.2.4.

4.3.8 Professional Liability Insurance Coverage

Before WADA grants accreditation, probationary laboratories shall provide  documentation to WADA demonstrating that professional liability risk insurance  coverage has been obtained to cover liability of no less than two (2) million USD  annually.

ISL – January 2021 Page 30 of 160

4.4 WADA-Accredited Laboratory

4.4.1 Obtaining WADA accreditation

4.4.1.1 WADA Accreditation Assessment - Final Accreditation Test

Once WADA has determined that the laboratory has successfully completed

the requirements of the probationary period, and upon request by the

probationary laboratory stating its readiness to proceed further, a Final

Accreditation Test (FAT) and on-site assessment shall be conducted by

WADA. At WADA’s discretion, the FAT and on-site assessment may be

conducted separately or at the same time. Representative(s) of the

Accreditation Body may be invited as observers to the WADA on-site

assessment.

As part of the FAT, the probationary laboratory shall analyze a minimum of

fifteen (15) blind EQAS samples. The general composition and content of the

blind EQAS samples and the evaluation of laboratory EQAS results are

described in Sections 6.0 and 7.0, respectively.

Compliance with the defined requirements in the Application of ISO/IEC

17025 to the analysis of Samples, the ISL and other WADA Laboratory

standards (Technical Documents, Technical Letters, Laboratory Guidelines),

and the practice and documentation of the laboratory will be assessed. The

FAT shall assess both the scientific competence and the capability of the

probationary laboratory to manage multiple Samples.

Costs associated with the WADA on-site assessment and FAT shall be at the

probationary laboratory’s expense.

The probationary laboratory shall successfully report the results for the blind

EQAS samples in the FAT to WADA in accordance with Article 6.3.1 within

seven (7) days of opening the samples, unless otherwise determined by

WADA:

- Upon request, the probationary laboratory shall provide WADA with a

Laboratory Documentation Package for selected EQAS samples for

which there is an Adverse Analytical Finding. Additional data may be

required upon WADA’s request. This documentation shall be submitted

within ten (10) days of WADA’s request or as otherwise indicated by

WADA;

- For EQAS samples with Negative Findings, WADA may request all or a

portion of the Initial Testing Procedure data.

After receiving the FAT EQAS results, WADA shall inform the probationary

laboratory of the evaluation of its performance. Corrective actions, if any,

shall be conducted and reported by the probationary laboratory to WADA

within thirty (30) days, or as otherwise indicated by WADA.

ISL – January 2021 Page 31 of 160

WADA shall provide an Assessment Report with the outcomes of the

accreditation assessment, including any identified nonconformities in order

for the probationary laboratory to implement the necessary improvements.

Corrective actions, if any, shall be conducted and reported by the

probationary laboratory to WADA within thirty (30) days, or as otherwise

indicated by WADA. The nonconformities identified in the FAT EQAS and the

Assessment Report shall be satisfactorily addressed by the laboratory and

the recommendations for improvement should be implemented before

accreditation can be granted.

4.4.1.2 WADA Recommendation for Accreditation

Based on the relevant documentation received from the probationary

laboratory, the Assessment Report(s) from WADA and from the relevant

Accreditation Body, the LabEG shall evaluate the probationary laboratory’s

progress in meeting all the requirements outlined in Articles 4.3 and 4.4.1.1.

Once all accreditation requirements have been satisfactorily met by the

probationary laboratory, the LabEG will submit its recommendation that the

laboratory be granted WADA accreditation to the WADA Executive

Committee for approval.

However, if following the FAT and on-site assessment, and the review of any

resulting Corrective Action Reports submitted by the probationary laboratory,

the LabEG determines that the probationary laboratory should not be

accredited, the laboratory will have a maximum of six (6) additional months

to correct and improve any pending nonconformity(-ies). The provision of

documentation, the analysis of additional EQAS samples and/or an

additional assessment (on-site, remotely or as a documentary audit, as

determined by WADA), may be required and conducted at the probationary

laboratory’s expense. A probationary laboratory that fails to provide

satisfactory improvements, as determined by the LabEG, after six (6) months

may be required to renew its candidacy as described in Article 4.2 or to re

start the probationary phase of accreditation in accordance with Article 4.3.

Once a laboratory becomes a WADA-accredited laboratory, the new

Laboratory shall, for a period of one (1) year, obtain a second opinion from

an(other) Laboratory(-ies) before reporting any Adverse Analytical Finding or

Atypical Finding. WADA may extend this requirement to obtain a second

opinion beyond one (1) year.

4.4.1.3 Issuing and Publishing of WADA Accreditation Certificate

An Accreditation Certificate signed by a duly authorized representative of

WADA shall be issued in recognition of the WADA accreditation. Such

Accreditation Certificate shall specify the name of the Laboratory and the

period for which the Accreditation Certificate is valid. Accreditation

ISL – January 2021 Page 32 of 160

Certificates may be issued after the effective date, with retroactive effect. A

list of WADA-accredited laboratories shall be published on WADA’s website.

4.4.2 Maintaining WADA Accreditation

In order to maintain WADA accreditation, a Laboratory shall comply with the following requirements.

4.4.2.1 Maintain ISO/IEC 17025 Accreditation

The Laboratory shall maintain accreditation to ISO/IEC 17025, with primary

reference to the analysis of Samples (Section 5.0), granted by a relevant

Accreditation Body, which is an ILAC full member and signatory to the ILAC

MRA for testing activities as defined in ISO/IEC 17025.

4.4.2.2 Flexible Scope of ISO/IEC 17025 Accreditation 3

A Laboratory may modify or add Analytes to Analytical Testing Procedures,

which are included within its Scope of ISO/IEC 17025 Accreditation or

develop new Analytical Testing Procedure(s) that involve technology already

included within the Scope of ISO/IEC 17025 Accreditation, without the need

for approval by the Accreditation Body that provides the ISO/IEC 17025

accreditation of that Laboratory.

[Comment: The flexible system of ISO/IEC 17025 Laboratory accreditation shall be

based on the overall assessment by the Accreditation Body of the demonstrated

competence of the Laboratory in the implementation of Laboratory processes and

procedures when following a Flexible Scope of ISO/IEC 17025 Accreditation system.

The flexible system of ISO/IEC 17025 Laboratory accreditation is important to ensure

that Laboratories can adapt their Analytical Testing Procedures to the detection of

new Prohibited Substances or Prohibited Methods, as well as to the application of

new technical and scientific developments in Analytical Testing for Doping Control.]

The Laboratories are not eligible to apply a Flexible Scope of ISO/IEC 17025

Accreditation to the analysis of Samples in the following scenarios:

- New Analytical Testing Procedures: Any Analytical Testing Procedure,

which is new to the field of anti-doping analysis, shall be approved as Fit

for-Purpose by WADA prior to implementation by any Laboratory. WADA

shall use whatever means deemed appropriate, including formal

consultations with scientific expert working groups, publication(s) in peer

reviewed scientific journal(s), or participation in an inter-laboratory

collaborative study or WADA-organized EQAS round to evaluate whether

the test is Fit-for-Purpose prior to providing approval. Before applying

such a new Analytical Testing Procedure to the analysis of Samples, a

3 See ILAC-G29/06:2020 “Guidelines for harmonization of scopes of ISO/IEC 17025 accreditation of WADA anti doping laboratories”.

ISL – January 2021 Page 33 of 160

Laboratory shall obtain an extension of the Scope of ISO/IEC 17025

Accreditation by the relevant Accreditation Body and may be required to

successfully participate in a WADA EQAS, if available;

- WADA-specific Analytical Testing Procedures: WADA may require an

extension of the Scope of ISO/IEC 17025 Accreditation to include specific

Analytical Testing Procedures before application to the analysis of

Samples, even if the analytical technique involved is already incorporated

in the Laboratory’s Scope of ISO/IEC 17025 Accreditation. WADA will

communicate to the Laboratories and to the Accreditation Bodies which

Analytical Testing Procedures are included in this category. In such

cases, the Analytical Testing Procedure shall be validated by the

Laboratory. The Laboratory may also be required to successfully

participate in an inter-laboratory collaborative study or WADA-organized

EQAS round in order to obtain an extension to the Scope of ISO/IEC

17025 Accreditation by a relevant Accreditation Body before introducing

the Analytical Testing Procedure to the analysis of Samples. However,

once included within the scope, limited changes to these Analytical

Testing Procedures may be allowed within the boundaries of a Flexible

Scope of ISO/IEC 17025 Accreditation. Nonetheless, this flexibility does

not allow the Laboratories to introduce new Analytes within these

Analytical Testing Procedures if specific method performance and

compliance decision criteria (e.g. Decision Limits) are needed and those

criteria are not yet defined in an applicable Technical Document (e.g. new

target compound(s) for GC/C/IRMS analysis).

Inclusion of an Analytical Testing Procedure within the Laboratory’s Scope

of ISO/IEC 17025 Accreditation establishes that the Analytical Testing

Procedure is Fit-for-Purpose, and the Laboratory shall not be required to

provide Analytical Method validation documentation or EQAS performance

data in support of an analytical finding.

Laboratories are expected to include Analytical Testing Procedures within

their Scope of ISO/IEC 17025 Accreditation prior to application to the

analysis of Samples. However, under exceptional circumstances, a

Laboratory may apply a method, which has been validated in accordance

with applicable Technical Document(s), Technical Letter(s) or Laboratory

Guidelines, to the analysis of Samples before inclusion into the Laboratory’s

Scope of ISO/IEC 17025 Accreditation. However, in such cases, the

Laboratory does not automatically benefit from the presumption

that the method is Fit-for-Purpose, as would otherwise be the case if the

Analytical Testing Procedure is included within the Laboratory’s Scope

of ISO/IEC 17025 Accreditation. Consequently, any Adverse Analytical

Finding reported by applying a Test Method, which is not within the

Laboratory’s Scope of ISO/IEC 17025 Accreditation, may require the

ISL – January 2021 Page 34 of 160

Laboratory to provide method validation documentation or EQAS

performance data in support of that Adverse Analytical Finding.

[Comment: Laboratories shall not apply a WADA-specific Analytical Testing

Procedure to the analysis of Samples until such method is included in the

Laboratory’s Scope of ISO/IEC 17025 Accreditation.]

4.4.2.3 Participate in the WADA EQAS Program

Laboratories are required to participate in the WADA EQAS on a continuous

basis and meet the performance requirements of the EQAS as described in

Section 6.0.

4.4.2.4 Laboratory Independence and Impartiality

The Laboratory shall be administratively and operationally independent from

any organization that could exert undue pressure on the Laboratory and

affect the impartial execution of its tasks and operations 4.

In order to be administratively independent, the Laboratory cannot be

administered by, connected or subject to an Anti-Doping Organization, sport

organization or government Ministry of Sport or other government body

responsible for sport performance, including their Board Members, staff,

Commission Members or officials. This is necessary to avoid potential

conflicts of interest and ensure full confidence in the Laboratory’s

competence, impartiality, judgment and operational integrity, in compliance

with ISO/IEC 17025.

In order to be operationally independent, the Laboratory shall manage its

own affairs without hindrance, interference or direction from any Person. The

Laboratory shall, without limitation, control: the allocation of its budget, the

procurement of equipment and other resources, Laboratory personnel

decisions, the research conducted by the Laboratory and all Sample

Analytical Testing and reporting of results.

The Laboratory shall have a dedicated budget allowing the implementation

of an efficient approval process for the timely procurement of necessary

Reference Materials, reagents, consumables and essential equipment, as

well as independent Laboratory management decisions concerning the

recruitment, retention and training of staff, participation in scientific meetings

and symposia, etc. This does not prevent the Laboratory from receiving

research grants or other financial support from their host organization (e.g.

4 Laboratories shall comply with these requirements of administrative and operational independence by  1 January 2022, unless otherwise approved by WADA.

ISL – January 2021 Page 35 of 160

university, hospital, public institution), Anti-Doping Organizations, sport

organizations, government, or other sponsors, while following applicable

accounting regulations in connection with the receipt and management of

those funds.

In accordance with ISO/IEC 17025, the Laboratory shall be a legal entity, or

a defined part of a legal entity, which is legally responsible for its activities.

4.4.2.5 Document Compliance with the WADA Laboratory Code of Ethics

The Laboratory shall annually provide to WADA a letter of compliance with

the provisions of the Code of Ethics, signed by the Laboratory Director. All

staff employed at the Laboratory, permanent or temporary, shall also read,

agree to and sign the Code of Ethics. The Laboratory may be asked to

provide documentation of compliance with the provisions of the Code of

Ethics.

The Laboratory shall establish a system requiring Laboratory staff to report

any alleged breaches of the Code of Ethics to the Laboratory Director, which

the Laboratory Director shall report to WADA. However, if Laboratory staff

suspect that the Laboratory Director may have breached the Code of Ethics,

the Laboratory staff shall report the alleged breaches of the Code of Ethics

directly to WADA. The Laboratory Director and/or the Laboratory’s host

organization and/or WADA, as applicable, shall immediately and thoroughly

investigate any alleged breach of the Code of Ethics.

If the Laboratory’s investigation determines that a breach of the Code of

Ethics occurred, the Laboratory Director and/or the Laboratory’s host

organization shall immediately inform WADA of the results of the

investigation and the disciplinary actions taken. WADA may also request

further sanctions or implement sanctions as a result of its own investigations.

Sanctions may range from a personal reprimand to the expulsion of the

implicated Laboratory staff member(s), the reporting of the breach to the

pertinent authorities (e.g. law enforcement) or the Suspension or Revocation

of the Laboratory’s WADA accreditation.

4.4.2.6 Document Implemented Research and Development Activities

The Laboratory shall maintain a plan for research and development in the

field of anti-doping science, including an annual budget in this area of at least

7% of the total annual operational budget allocated to activities associated

with Signatories.

The Laboratory should document the publication of results of the research in

relevant scientific papers in the peer-reviewed literature (at least one

publication every two (2) years). The list of scientific papers shall be made

available to WADA upon request. The Laboratory may also demonstrate a

ISL – January 2021 Page 36 of 160

research program by documenting successful or pending applications for

research grants [at least one (1) application submitted every three (3) years].

[Comment: The validation or implementation of established anti-doping methods with

only minor adjustments, or repetition of research previously published or presented

by others, is not sufficient to be considered as a research and development activity.]

The Laboratory shall supply an annual progress report to WADA

documenting research and development results in the field of anti-doping

science. The Laboratory shall also relate research and development plans

for the following year.

4.4.2.7 Document Implemented Sharing of Knowledge

The Laboratory shall demonstrate its willingness and ability to share

knowledge with other Laboratories. The Laboratory shall disseminate the

results of its research and development activities to other Laboratories. The

Laboratory should make at least one (1) annual contribution to an anti-doping

symposium or conference. Laboratories are encouraged to participate in

collaborative research projects with other Laboratories, and to exchange

experience, protocols, arrange for visits of specialists and provide training to

other Laboratories and probationary laboratories in specific areas of

Analytical Testing.

The Laboratory shall supply an annual report on sharing of knowledge with

other Laboratories to WADA. A description of sharing of knowledge is

provided in the Code of Ethics (Annex A).

4.4.2.8 Maintain Professional Liability Insurance Coverage

Laboratories shall provide documentation to WADA including evidence that

professional liability risk insurance coverage is maintained of no less than

two (2) million USD annually (for example, evidence of timely payment of

applicable fees and premiums).

4.4.2.9 Providing renewed letter(s) of support

Letter(s) of support, as described in Article 4.1.3, from Signatories shall be

provided to WADA every two (2) years confirming three (3) years of support

or unless otherwise approved by WADA.

4.4.2.10 Maintain Minimum Number of Samples

In order to maintain proficiency in Analytical Testing, Laboratories are

required to analyze a minimum of 3,000 Samples provided annually by Code

compliant Anti-Doping Organizations (as determined by WADA) or as

otherwise approved by WADA.

ISL – January 2021 Page 37 of 160

[Comment: To determine the minimum number of Samples, each urine Sample,

blood Sample and ABP blood Sample analyzed by the Laboratory shall count as an

individual Sample.]

WADA will monitor the number of Samples tested by the Laboratory. If the

number of Samples falls below 3,000 per year, the Laboratory’s WADA

accreditation may be suspended in accordance with Article 4.6.4.1.2.

It is recognized that specific circumstances may affect a Laboratory’s ability

to analyze a minimum of 3,000 Samples annually, such as when an Anti

Doping Organization is declared non-compliant with the Code by WADA, or

when the Laboratory is not operational for the full calendar year. In such

cases, WADA shall require that the Laboratory implement measures to

maintain proficiency in Analytical Testing, for example by strengthening its

internal Quality Assurance Scheme (iQAS) and internal audits program.

WADA may also provide additional EQAS samples and/or conduct a

documentary audit and/or an on-site or remote (on-line) assessment, at its

discretion, in order to assess the status of the Laboratory’s operations.

4.4.2.11 Publication of Laboratory Analytical Testing Procedures, services and  fees

Laboratories shall report and maintain in ADAMS an up-to-date list of

Analytical Testing Procedures and services, including standard prices, to

assist Anti-Doping Organizations in developing Test Distribution Plans. Upon

request by an Anti-Doping Organization, Laboratories should cooperate with

the Anti-Doping Organization by providing other relevant information

regarding Testing plans (e.g. Laboratory analytical capabilities).

4.4.2.12 Participating in WADA / Accreditation Body Re-assessments and  Continuous Assessments during the Accreditation Cycle

• Accreditation Body Re-assessment and/or Continuous Assessment

during the Accreditation Cycle

The assessment team shall include at least one ISL-trained assessor

selected by the Accreditation Body for the assessment/re-assessment.

The relevant Accreditation Body should send copies of a summary of the

Assessment Report, in English or French, as well as the Laboratory

responses in a timely fashion to WADA. Should the Laboratory prefer to

provide the Assessment Report summary directly to WADA, it shall do so

within thirty (30) days from receiving the Accreditation Body’s

Assessment Report.

The Laboratory shall provide WADA with an updated copy of the ISO/IEC

17025 Certificate and Scope of ISO/IEC 17025 Accreditation as soon as

it is obtained from the Accreditation Body.

ISL – January 2021 Page 38 of 160

• WADA Laboratory Assessment

WADA reserves the right to conduct documentary audits as well as

inspect and assess the Laboratory through on-site or remote (on-line)

assessments at any time, at WADA’s expense. The notice of the WADA

assessment will be made in writing to the Laboratory Director. In

exceptional circumstances, and at WADA’s discretion, the assessment

may be unannounced.

As part of an announced or unannounced Laboratory assessment,

WADA retains the right to request copies of Laboratory documentation

and/or request Further Analysis of selected “A” and/or “B” Samples either

on-site or in a Laboratory(-ies) chosen by WADA.

4.5 Removal of Samples by WADA

4.5.1 Removal of Samples for Analysis or Further Analysis

Within the context of an investigation or Laboratory performance monitoring activity  (for example, during an on-site WADA Laboratory assessment), WADA, initially at its  expense, may remove Sample(s) from a Laboratory in order to conduct Further  Analysis, or analysis of the Sample if the analytical results for that Sample have not  yet been reported, for the purpose described in Code Article 6.2. In such cases, WADA

shall notify the Testing Authority, which shall retain ownership of the Sample(s) pursuant to the Article 10.1 of the International Standard for Testing and Investigations  (ISTI). Notwithstanding the aforementioned, WADA shall retain the right to request  analysis or Further Analysis, at its expense, as permitted by Code Article 6.6.

[Comment: If Laboratory nonconformities are revealed with respect to the Analytical Testing of  any Sample, WADA retains the right to recover the expenses incurred in connection with the  analysis or Further Analysis of the Samples from the Laboratory.]

WADA may delegate an observer to monitor the removal of the Samples, which shall  be implemented in accordance with WADA’s instructions. During the removal of  Samples, WADA shall be responsible for maintaining proper Sample chain of custody  documentation and the safety and integrity of the Samples until receipt by the other  Laboratory(-ies).

WADA may also require that the Laboratory transfer the Samples. In such situations,  the Laboratory shall be responsible for maintaining proper chain of custody  documentation for all transferred Samples and the safety and integrity of the Samples  until receipt by the receiving Laboratory(-ies).

In connection with its monitoring of Laboratory performance, WADA may direct Further  Analysis of a Sample which has resulted in a Code Article 2.1 anti-doping rule violation  charge without consent of the Athlete or approval from a hearing body as provided in  Code Article 6.5, provided that the analytical result from that Further Analysis cannot  be used against the Athlete (for example, re-analysis of Samples which a Laboratory

ISL – January 2021 Page 39 of 160

has reported as Adverse Analytical Findings when the Laboratory has been  determined to have reported False Adverse Analytical Findings using the same  Analytical Method).

4.5.2 Removal of Samples for Laboratory Quality Assessment

WADA may also direct the re-analysis of anonymized Samples, which have met the  conditions described in Article 5.3.12, for purposes of Laboratory quality assurance and education, including the implementation of a system of transfer of Samples  reported as Negative Findings between Laboratories. In this regard, the number of  Samples directed by WADA for re-analysis may vary.

[Comment: A transfer of Samples with Negative Findings shall apply only to Samples collected  by Signatories.]

4.6 WADA Monitoring of Accreditation Status

WADA shall regularly review the compliance of Laboratories with the requirements listed in  the ISL and related Technical Documents and Technical Letters. In addition, WADA shall also  conduct an annual review of EQAS results and of relevant routine Analytical Testing issues  reported to WADA by stakeholders to assess the overall performance of each Laboratory and  to decide its accreditation status.

4.6.1 Maintenance of WADA Accreditation

Compliance with all the requirements established in Article 4.4.2, including satisfactory  performance by a Laboratory in the EQAS and in routine Analytical Testing (see  Sections 6.0 and 7.0), as determined by WADA, is a critical requirement for the  maintenance of the Laboratory’s WADA accreditation.

4.6.2 Re-accreditation Costs

On an annual basis, WADA will invoice the Laboratory for a portion of the costs  associated with the WADA re-accreditation process.

4.6.3 Issuing and Publication of Accreditation Certificate

On an annual basis, when maintenance of accreditation is approved, the Laboratory shall receive a WADA Accreditation Certificate, signed by a duly authorized  representative of WADA, which is issued in recognition of such accreditation. The  Accreditation Certificate shall specify the name of the Laboratory and the time period  for which the Accreditation Certificate is valid. WADA Accreditation Certificates may  be issued after the effective date, with retroactive effect. The list of WADA-accredited  Laboratories is maintained on WADA’s website.

ISL – January 2021 Page 40 of 160

4.6.4 Withdrawal of WADA Accreditation

A Laboratory’s WADA accreditation may be suspended or revoked, or subject to an  Analytical Testing Restriction, whenever the Laboratory fails to comply with the ISL and/or Technical Documents and/or Technical Letters, or where the Suspension,  Revocation or Analytical Testing Restriction is otherwise required in order to protect  the integrity of the Samples, the Analytical Testing process or the interests of the Anti

Doping Community.

The imposition of an Analytical Testing Restriction or the Suspension of a Laboratory’s  WADA accreditation should not imply the automatic withdrawal of its ISO/IEC 17025  accreditation. The status of the Laboratory’s ISO/IEC 17025 accreditation is to be  independently assessed by the relevant Accreditation Body.

4.6.4.1 Suspension of Accreditation and Analytical Testing Restriction

The Chairman of the WADA Executive Committee may suspend a

Laboratory’s WADA accreditation or impose an Analytical Testing Restriction

against a Laboratory if WADA identifies a noncompliance with the ISL and/or

Technical Documents and/or Technical Letters based on the Laboratory’s

performance during the EQAS or during routine Analytical Testing.

The Laboratory’s WADA accreditation shall be subject to a Suspension and

not to an Analytical Testing Restriction, as determined by the LabEG, when

the sanction imposed to the Laboratory impacts Analytical Methods or target

Analytes that are included in the Laboratory’s standard In-Competition or

Out-of-Competition Analytical Testing menus, because it would affect the

analysis of all respective urine and/or blood Samples received by the

Laboratory.

[Comment: If WADA determines that the noncompliance(s) leading to the

Suspension of the Laboratory’s WADA accreditation or to the imposition of an

Analytical Testing Restriction against the Laboratory does not affect the Laboratory’s

ability to analyze blood Samples for the ABP or to operate as an APMU, then the

Laboratory may, at WADA’s discretion, continue operating in such a capacity. In such

cases, WADA will inform the Laboratory accordingly.]

4.6.4.1.1 Suspension of Accreditation and Analytical Testing Restriction – No  Disciplinary Proceedings

In the event that a Laboratory has accumulated the maximum allowed

number of penalty points for the EQAS and/or Analytical Testing (as

determined by the application of the Points Scale Table in Article 7.3),

or if a Laboratory has reported a False Adverse Analytical Finding with

Consequences for an Athlete, the LabEG shall make a

recommendation to the Chairman of the WADA Executive Committee

that the Laboratory be subject to an Analytical Testing Restriction,

ISL – January 2021 Page 41 of 160

Suspension or Revocation, as applicable and as determined by the

LabEG.

If the LabEG recommends to the Chairman of the WADA Executive

Committee that the Laboratory be subject to an Analytical Testing

Restriction or Suspension when the specific above-mentioned

nonconformities are present, the Laboratory may not challenge the

recommendation of the LabEG before the Disciplinary Committee

pursuant to Article 4.6.4.5 at any time. However, in the event that the

Chairman of the WADA Executive Committee imposes an Analytical

Testing Restriction or a Suspension against the Laboratory pursuant to

this Article 4.6.4.1.1, the Laboratory may appeal the decision of the

Chairman of the WADA Executive Committee to CAS in accordance

with Article 4.6.4.7.

Notwithstanding the above, if the LabEG recommends the Revocation

of a Laboratory’s WADA accreditation in situations where the

Laboratory has accumulated the maximum allowed number of penalty

points for the EQAS and/or Analytical Testing (as determined by the

application of the Points Scale Table in Article 7.3) or where the

Laboratory reports a False Adverse Analytical Finding that results in

Consequences for an Athlete, the Laboratory may challenge the

LabEG’s recommendation before the Disciplinary Committee in

accordance with Article 4.6.4.5.

4.6.4.1.2 Analytical Testing Restriction and Suspension or Revocation of  Accreditation – Disciplinary Proceedings.

The LabEG may also recommend to the Chairman of the WADA

Executive Committee that a Laboratory be subject to an Analytical

Testing Restriction or a Suspension or Revocation of its WADA

accreditation even if the Laboratory has not reported a False Adverse

Analytical Finding with Consequences for an Athlete or has not attained

the maximum number of penalty points detailed in the Points Scale

Table in Article 7.3, but where the Laboratory’s other Analytical Testing

failure(s) and/or other identified nonconformities (as described in

Articles 4.6.4.2 and 4.6.4.3, as applicable) otherwise justifies that such

action be taken to ensure the full reliability and accuracy of Analytical

Testing and the accurate reporting of test results.

Prior to commencing disciplinary proceedings in accordance with

Article 4.6.4.5, and if requested by the Laboratory, the LabEG shall hold

a resolution facilitation session with the Laboratory as described in

Article 4.6.4.4, at the conclusion of which the Laboratory may accept

the LabEG’s recommendation and the terms of the LabEG’s Analytical

Testing Restriction or Suspension. As indicated in Article 4.6.4.4, the

ISL – January 2021 Page 42 of 160

Chairman of the WADA Executive Committee must approve any

agreement between the Laboratory and the LabEG regarding the

Laboratory’s accreditation status and the terms of its Analytical Testing

Restriction or Suspension.

However, if the Laboratory does not accept the LabEG’s

recommendation and/or terms for the Analytical Testing Restriction or

Suspension following the resolution facilitation process, as per Article

4.6.4.4, the Laboratory may challenge the LabEG’s recommendation to

the Disciplinary Committee and disciplinary proceedings will be

conducted in accordance with Article 4.6.4.5.

In such circumstances, the LabEG may, on the basis of the seriousness

of the Laboratory’s Analytical Testing failures and/or other identified

nonconformities, recommend to the Chairman of the WADA Executive

Committee that the Laboratory:

- May continue its Analytical Testing activities pending the outcome of

the Laboratory’s appeal to the Disciplinary Committee; or

- Be immediately subject to a provisional Analytical Testing Restriction

or that its WADA accreditation be subject to an immediate

Provisional Suspension pending the outcome of the disciplinary

proceedings. In such cases, a decision by the Chairman of the

WADA Executive Committee to impose a Provisional Suspension or

subject the Laboratory to a provisional Analytical Testing Restriction

shall not be subject to appeal by the Laboratory.

However, should the Laboratory be immediately subject to a provisional

Analytical Testing Restriction or should its WADA accreditation be

subject to a Provisional Suspension, the proceedings before the

Disciplinary Committee should be conducted within forty-five (45) days

of the date when the provisional Analytical Testing Restriction or the

Provisional Suspension of the Laboratory’s WADA accreditation was

imposed.

4.6.4.2 Noncompliances with the ISL

Noncompliances with the ISL that may lead to an Analytical Testing Restriction

or Suspension include, but are not limited to:

- Suspension, or withdrawal of ISO/IEC 17025 accreditation;

- Failure to establish and/or maintain administrative and operational

independence as described in Article 4.4.2.4;

- Repeated reporting of False Adverse Analytical Findings and/or False

Negative Findings:

[Comment: LabEG recommendations are made in consideration of the number of

ISL – January 2021 Page 43 of 160

false analytical findings reported by the Laboratory, irrespective of the total number

of penalty points accumulated during this period (i.e. after consideration of any

applicable penalty point deductions) or whether or not the Laboratory has

satisfactorily corrected the noncompliances.]

o The reporting of two (2) or more independent 5 False Adverse Analytical

Findings per EQAS round; or

o The reporting of three (3) or more independent 5 False Adverse

Analytical Findings, including EQAS and routine Analytical Testing, per

twelve (12)-month period; or

o The reporting of three (3) or more independent 5 False Negative

Findings per EQAS round; or

o The reporting of four (4) or more independent 5 False Negative

Findings, including EQAS and routine Analytical Testing, per twelve

(12)-month period; or

o Any combination of four (4) or more independent 5 False Adverse

Analytical Findings and False Negative Findings, including EQAS and

routine Analytical Testing, per twelve (12)-month period.

- Failure to implement a Technical Document or Technical Letter by the

effective date without prior approval by WADA;

- Failure to comply with any of the requirements or standards listed in the

ISL and/or Technical Documents and/or Technical Letters;

- Serious and repeated noncompliances with results reporting timelines (see

Article 5.3.8.4);

- Failure to take appropriate corrective action after an unsatisfactory

performance during routine Analytical Testing or in a blind EQAS or double

blind EQAS round;

- Failure to take appropriate corrective action for ISL and/or Technical

Document and/or Technical Letter noncompliance(s) identified from WADA

Laboratory assessment(s);

- Failure to cooperate with WADA or the relevant Testing Authority or Results

Management Authority in providing documentation;

- Noncompliance(s) with the Code of Ethics;

- Laboratory staff and/or management issues, including but not limited to:

5Independent analytical findings are produced by different and unrelated root causes and based on a satisfactory  Root Cause Analysis investigation, as determined by the LabEG.

ISL – January 2021 Page 44 of 160

o Major changes in senior Laboratory management positions (e.g.

Laboratory Director, Quality Manager) without proper and timely

notification to WADA;

o Failure to appoint a permanent Laboratory Director or other senior

management positions (e.g. Quality Manager) within a reasonable

timeline;

o Failure to guarantee the competence and/or proper training of scientific

staff including, for example, the qualification of analysts as Certifying

Scientists and Laboratory Supervisory Personnel (see Articles 5.2.2.3

and 5.2.2.4);

o Significant loss or lack of experienced staff (e.g. Certifying Scientists)

that affects, as determined by WADA, the Laboratory’s ability to ensure

the full reliability and accuracy of Analytical Testing and reporting of test

results;

o Loss of sufficient Laboratory support and resources that affects, as

determined by WADA, the quality and/or viability of the Laboratory;

o Failure to analyze the minimum number of Samples indicated in Article

4.4.2.10; or

o Failure to cooperate in any WADA enquiry in relation to the activities of

the Laboratory.

4.6.4.3 Revocation of Accreditation

The WADA Executive Committee shall revoke the WADA accreditation of any

Laboratory if it determines that Revocation is necessary to ensure the full

reliability and accuracy of Analytical Testing and the accurate reporting of

analytical test results.

The LabEG shall recommend the Revocation of a Laboratory’s WADA

accreditation based on, but not limited to, the following noncompliance(s):

- Repeated reporting of False Adverse Analytical Findings or repeated failure

to take appropriate corrective action after the reporting of a False Adverse

Analytical Finding;

[Comment: The repeated reporting of False Adverse Analytical Findings with

Consequences for an Athlete(s) shall lead to the Revocation of the Laboratory’s

WADA accreditation, irrespective of whether or not those findings were

independent as described in Article 4.6.4.2.]

- Repeated reporting of False Negative Findings or repeated failure to take

appropriate corrective action after the reporting of False Negative

Finding(s);

- Repeated suspensions of ISO/IEC 17025 accreditation or Suspensions of

ISL – January 2021 Page 45 of 160

WADA accreditation or repeated impositions of Analytical Testing

Restrictions against the Laboratory;

- Failure to correct a noncompliance with any of the requirements or

standards listed in the ISL and/or Technical Documents and/or Technical

Letters by the end of the Suspension period or at the end of an extension

of the Suspension period in accordance with Article 4.6.6.1;

- Repeated failure to comply with the ISL and/or Technical Documents

and/or Technical Letters;

- Serious Laboratory noncompliance(s) with the ISL and/or Technical

Documents and/or Technical Letters identified, for example, during WADA

Laboratory assessments, by documented client complaints or through

other enquiries or investigations conducted by WADA;

- Repeated failure to take appropriate corrective action following

unsatisfactory performance either in routine Analytical Testing or in a blind

EQAS or double-blind EQAS round;

- Repeated failure to take appropriate corrective action following ISL and/or

Technical Document and/or Technical Letter noncompliance(s) identified

from WADA Laboratory assessment(s);

- Repeated failure to analyze the minimum number of Samples indicated in

Article 4.4.2.10;

- Continuous, serious Laboratory staff and/or management issues (e.g.

continuous turnover of qualified staff affecting Laboratory expertise and

competence, inadequate training, repeated failure to train and qualify an

appropriate number of analysts as Certifying Scientists);

- Failure to cooperate with WADA or any relevant Testing Authority or

Results Management Authority during a period of Suspension or following

the imposition of an Analytical Testing Restriction;

- Analysis of Samples from Signatories in violation of a Suspension or

Analytical Testing Restriction decision;

- A serious or repeated violation(s) of the Code of Ethics;

- Conviction of any key personnel for any criminal offence that is determined

by WADA to impact the operations of the Laboratory;

- Repeated and/or continuous failure to cooperate in any WADA inquiry in

relation to the activities of the Laboratory;

- Failure to establish and/or maintain administrative and operational

independence, as described in Article 4.4.2.4, during the Suspension

period;

- Loss of support which significantly affects the quality and/or viability of the

ISL – January 2021 Page 46 of 160

Laboratory; and

- Any other cause that materially affects the ability of the Laboratory to

ensure the full reliability and accuracy of Analytical Testing and the

accurate reporting of test results.

If the Laboratory does not accept the LabEG’s recommendation for Revocation

either following the resolution facilitation session (if held pursuant to Article

4.6.4.4) or otherwise, the LabEG shall recommend to the Chairman of the

WADA Executive Committee that the Laboratory’s WADA accreditation be

immediately subject to a Provisional Suspension pending the outcome of the

disciplinary proceedings conducted pursuant to Article 4.6.4.5.

In such cases, a decision by the Chairman of the WADA Executive Committee

to impose a Provisional Suspension against the Laboratory shall not be subject

to appeal by the Laboratory. However, should the Laboratory be immediately

subject to a Provisional Suspension, the proceedings before the Disciplinary

Committee should be conducted within forty-five (45) days of the date when

the Provisional Suspension of the Laboratory’s WADA accreditation was

imposed.

4.6.4.4 Resolution Facilitation

Prior to the commencement of Disciplinary Proceedings in accordance with

Articles 4.6.4.1.2, 4.6.4.3 and 4.6.4.5, the LabEG, upon request by the

Laboratory Director, will hold a resolution facilitation session with the

Laboratory Director (via teleconference or other means). During this session,

the LabEG shall explain the Laboratory’s noncompliances with the ISL and/or

Technical Document(s) and/or Technical Letter(s) and offer the Laboratory

Director an opportunity to provide further clarification to the LabEG.

During the resolution facilitation session, the Laboratory and the LabEG may

come to an agreement regarding the Laboratory’s Revocation or the terms and

duration of the Suspension of the Laboratory’s WADA accreditation or the

Laboratory’s Analytical Testing Restriction. Any such agreement must be

submitted to the Chair of the WADA Executive Committee for approval.

Following such approval by the Chair of the WADA Executive Committee,

disciplinary proceedings will not be conducted in accordance with Article

4.6.4.5.

If the Laboratory and the LabEG are unable to come to an agreement regarding

the Laboratory’s Revocation or the terms and duration of the Suspension of

the Laboratory’s WADA accreditation or the Laboratory’s Analytical Testing

Restriction during the resolution facilitation session, the procedure indicated in

Article 4.6.4.5 shall be followed.

ISL – January 2021 Page 47 of 160

In the case of a LabEG recommendation for Revocation, a resolution

facilitation session shall not be available to a Laboratory which is already

serving a Suspension or Analytical Testing Restriction.

4.6.4.5 Disciplinary Proceedings

In the event that the Laboratory decides to challenge the LabEG’s

recommendation to impose an Analytical Testing Restriction or to suspend its

WADA accreditation in accordance with Article 4.6.4.1.2 or should a

Laboratory’s WADA accreditation be subject to Revocation in accordance with

Article 4.6.4.3, WADA shall constitute an impartial Disciplinary Committee (DC)

in accordance with Article 1 of the Procedural Rules (Annex C). The DC shall

be responsible for conducting Disciplinary Proceedings in accordance with the

Procedural Rules.

In such circumstances, WADA shall provide the DC with the case file, which

shall include the relevant documentation and correspondence related to the

Laboratory’s Analytical Testing failures or other ISL noncompliances or, where

applicable, the circumstances that have resulted in the Laboratory’s WADA

accreditation being subject to Revocation proceedings. The Laboratory shall

be permitted to make written submissions and provide any supporting

documents or evidence in accordance with Article 3 of the Procedural Rules

(Annex C).

The DC shall issue a recommendation to the Chair of the WADA Executive

Committee or, where applicable (e.g. in the case of a Revocation), to the

WADA Executive Committee, regarding the action(s) to be taken with regard

to the Laboratory’s WADA accreditation in accordance with the requirements

and procedure described in Article 7 of the Procedural Rules (Annex C).

[Comment: For the avoidance of doubt, and as indicated in Article 4.6.4.1.1,

disciplinary proceedings will not be conducted pursuant to Article 4.6.4.5 in situations

where a Laboratory has accumulated the maximum allowed number of penalty points

for the EQAS and/or Analytical Testing (as determined by the application of the Points

Scale Table in Article 7.3), or if a Laboratory has reported a False Adverse Analytical

Finding with Consequence(s) for an Athlete. Instead, and only in the aforementioned

circumstances, the Laboratory may appeal any decision of the Chairman of the WADA

Executive Committee to impose an Analytical Testing Restriction or to suspend the

Laboratory’s WADA accreditation directly to CAS in accordance with Article 4.6.4.7.]

4.6.4.6 Notification of Decision

Upon completion of the procedures indicated in Articles 4.6.4.5 or 7.3, as

applicable, and in accordance with the timelines indicated in Article 7 of the

Procedural Rules (Annex C), WADA shall provide the Laboratory with written

notice of its decision regarding the status of the Laboratory’s WADA

accreditation. This notice shall state the following:

ISL – January 2021 Page 48 of 160

1) That the Laboratory’s WADA accreditation has been maintained (including

warnings, if applicable); or

2) That the Laboratory’s WADA accreditation has been suspended or revoked

or that an Analytical Testing Restriction has been imposed against the

Laboratory.

Such notice shall include:

- The reason(s) for Suspension or Revocation or the imposition of an

Analytical Testing Restriction;

- The terms of the Suspension, Revocation, or Analytical Testing

Restriction; and

- The period of Suspension or of Analytical Testing Restriction, if

applicable.

For proceedings conducted pursuant to Article 4.6.4.5, WADA shall also

provide the Laboratory with a copy of the DC’s recommendation regarding the

Suspension or Revocation of the Laboratory’s WADA accreditation or the

imposition of an Analytical Testing Restriction against the Laboratory.

4.6.4.7 Effective Date and Appeals

A Suspension or Analytical Testing Restriction is effective immediately upon

receipt of notification of the decision.

A Revocation takes effect one (1) month after notification. The Laboratory shall

remain under Suspension until such a time when the Revocation becomes

effective or pending the outcome of any possible appeal of the Revocation

decision by the Laboratory.

A Laboratory may appeal a decision by WADA to revoke or suspend its WADA

accreditation, or to impose an Analytical Testing Restriction, to CAS in

accordance with Code Article 13.7. The Laboratory shall have twenty-one (21)

days from the date of receipt of the decision from WADA to file an appeal to

CAS.

4.6.4.8 Public Notice

WADA shall publicly announce a change in a Laboratory’s accreditation status

on its website as soon as the Laboratory is notified by WADA of its decision. In

cases of Laboratory Revocation, the public notice shall specify that the

Laboratory shall remain under Suspension until the date when the Revocation

becomes effective, as determined in Article 4.6.4.7.

WADA shall also indicate the terms and length of the Suspension or the

Analytical Testing Restriction, as well as the nature of the Laboratory’s

ISL – January 2021 Page 49 of 160

noncompliance with the ISL and/or Technical Document(s) and/or Technical

Letter(s).

WADA’s website shall be updated regarding a Laboratory’s accreditation

status when the Laboratory’s WADA accreditation is reinstated following a

Suspension or when an Analytical Testing Restriction is lifted.

4.6.5 Consequences of Suspended or Revoked Accreditation or Analytical Testing  Restriction

4.6.5.1 Analytical Testing Restriction

If WADA determines that the noncompliance(s) are limited to a class of

Prohibited Substances or Prohibited Methods or to a specific Analytical Testing

Procedure, which are not included in the standard Analytical Testing menu for

In-Competition or Out-of-Competition Samples received by the Laboratory,

WADA may impose an Analytical Testing Restriction for that class of

Prohibited Substance(s) or Prohibited Method(s) or for the specific Analytical

Testing Procedure in which the noncompliance(s) occurred.

The Laboratory shall inform its clients of the imposed Analytical Testing

Restriction and shall subcontract the affected analyses to another Laboratory(-

ies) during the period of the Analytical Testing Restriction, as provided in Article

5.2.6. A Laboratory under an Analytical Testing Restriction shall inform WADA

of the identity of the relevant Testing Authority(-ies) and the chosen

Laboratory(-ies).

If the reason for the Analytical Testing Restriction was related to the reporting

of False Adverse Analytical Finding(s), all analyses employing the affected

Analytical Testing Procedure(s) shall cease immediately.

The Laboratory shall transfer 6the following Samples (“A” and “B” Samples) in

the Laboratory’s custody, which involve the analysis of the same class of

Prohibited Substances or Prohibited Methods and/or the application of the

affected Analytical Testing Procedure(s) subjected to the Analytical Testing

Restriction, to another Laboratory(-ies) for the performance of the “A” and, if

needed, the “B” Confirmation Procedures (unless otherwise instructed by

WADA):

- Samples, which had been previously reported as an Adverse Analytical

6 The Laboratory under Analytical Testing Restriction shall contact the relevant Testing Authority(-ies) to arrange  for the transfer of the relevant Samples to subcontracted Laboratory(-ies), chosen by the Testing Authority, within  thirty (30) days of being notified of the Analytical Testing Restriction decision. All associated costs shall be borne  by the Laboratory under Analytical Testing Restriction.

ISL – January 2021 Page 50 of 160

Finding (as requested by WADA);

- Samples, which had been opened and were undergoing analysis for the

Initial Testing Procedure(s) at the time of the Analytical Testing Restriction

decision;

- Samples for which, at the time of the Analytical Testing Restriction

decision, Initial Testing Procedure(s) had been completed and had

produced Presumptive Adverse Analytical Findings requiring Confirmation

Procedures, or Samples that are the subject of other Confirmation

Procedures (e.g. GC/C/IRMS analysis for Markers of the steroid profile);

- Samples for which the “A” or “B” Confirmation Procedures had been

completed, but results of the analysis had not been reported by the

Analytical Testing Restriction date, or Samples which were undergoing “A”

or “B” Confirmation Procedures at the time of the imposition of the

Analytical Testing Restriction;

- Samples which had been reported as Adverse Analytical Findings based

on the “A” Confirmation Procedure prior to the imposition of the Analytical

Testing Restriction. These Samples shall be kept in the Laboratory under

proper Laboratory Internal Chain of Custody and appropriate storage

conditions. Should a “B” Confirmation Procedure be requested during the

period of the Analytical Testing Restriction, both “A” and “B” Samples shall

be transferred 6to another Laboratory(-ies) for the “A” Confirmation

Procedure to be performed again and for the performance of the “B”

Confirmation Procedure, if applicable.

If the Analytical Testing Restriction was caused by the reporting of False

Negative Finding(s), and further investigation reveals that other Negative

Finding(s) had been reported for Samples that are still stored in the Laboratory,

the Laboratory shall inform the Testing Authority and WADA. In such cases,

both the “A” and “B” containers of the relevant Samples shall be transferred 6

to another Laboratory(-ies) for Further Analysis, as determined by WADA.

These re-analyses may be applied to the class of Prohibited Substances

and/or Prohibited Methods or to the Analytical Testing Procedure(s) that were

associated with the Negative Finding(s), as determined by WADA.

4.6.5.2 Suspension

A Laboratory whose WADA accreditation has been suspended is ineligible to

perform Analytical Testing of Samples for any Signatory. This provision does

not apply when the noncompliance(s) that led to the Suspension do not affect

the blood analyses for the ABP, as determined by WADA.

- Suspension for Violation of the Code of Ethics

If the reason for the Suspension was related to a violation of the Code of

ISL – January 2021 Page 51 of 160

Ethics (Annex A), all Analytical Testing in the suspended Laboratory shall

cease immediately and the Laboratory shall transfer 7all Samples (both the

“A” and “B” Samples) in the Laboratory’s custody to other Laboratory(-ies)

chosen by the Testing Authority(-ies).

- Suspension for Reporting of False Adverse Analytical Finding(s)

If the reason for the Suspension was related to the reporting of False

Adverse Analytical Finding(s), all Analytical Testing shall cease

immediately. In addition, the Laboratory shall transfer 7the following

Samples (“A” and “B” Samples) in the Laboratory’s custody to another

Laboratory(-ies) for the performance of the “A” and, if needed, the “B”

Confirmation Procedures, unless otherwise instructed by WADA:

o Samples, which had been previously reported as an Adverse Analytical

Finding for the same class of Prohibited Substances or Prohibited

Methods when applying the same Confirmation Procedure (as

requested by WADA);

o Samples for which, at the time of the Suspension decision, Initial

Testing Procedure(s) had been completed and had produced

Presumptive Adverse Analytical Findings requiring Confirmation

Procedures, or Samples that are the subject of other Confirmation

Procedures (e.g. GC/C/IRMS analysis for Markers of the steroid

profile);

o Samples, which had been opened and were undergoing analysis for

the Initial Testing Procedure(s) at the time of the Suspension;

o Samples which had been received at the Laboratory but had not been

opened at the time of the Suspension [these Samples shall be kept

sealed in the Laboratory under proper Laboratory Internal Chain of

Custody and appropriate storage conditions until transfer 7to another

7 The suspended or revoked Laboratory shall contact the relevant Testing Authority(-ies) to arrange for the transfer  of Samples to Laboratory(-ies), chosen by the Testing Authority, within thirty (30) days of being notified of the  Suspension or Revocation decision. Any additional costs of analysis to those previously agreed or already paid to  the suspended or revoked Laboratory shall be borne by the Laboratory under Suspension or Revocation. In case  of Code of Ethics violation(s), the suspended or revoked Laboratory shall also reimburse the Testing Authority for  the costs of re-analyses in another Laboratory. The suspended or revoked Laboratory shall inform WADA of such  actions including providing the Sample code(s) and the identity of the relevant Testing Authority(-ies) and the  chosen Laboratory(-ies). Testing Authorities should consider differences in analytical capacity between the  suspended or revoked Laboratory and the receiving Laboratory(-ies) (e.g. LOI for Non-Threshold Substances,  capacity to perform specific analyses). In such cases, the Testing Authority may consult the Laboratories implicated  and/or WADA for guidance.

ISL – January 2021 Page 52 of 160

Laboratory(-ies)].

o Samples for which “A” or “B” Confirmation Procedures had been

completed, but results of the analysis had not been reported by the

Suspension date, or Samples which were undergoing “A” or “B”

Confirmation Procedures at the time of the Suspension;

o Samples which had been reported as Adverse Analytical Findings

based on the “A” Confirmation Procedure prior to the Suspension.

- Suspension for Other Reasons

A Laboratory that has had its WADA accreditation suspended for reasons

other than a violation of the Code of Ethics or the reporting of False Adverse

Analytical Findings(s) shall take the following steps with the Samples in the

Laboratory’s custody, unless otherwise instructed by WADA:

o Samples which had been analyzed and reported as a Negative Finding,

and which have either been stored in the Laboratory for a period of less

than three (3) months or have been placed in long-term storage upon

request by the Testing Authority or WADA.

These Samples shall be kept in the Laboratory under proper Laboratory

Chain of Custody and appropriate storage conditions. The Laboratory

shall inform WADA of such actions including the provision of the

Sample codes and the identity of the relevant Testing Authority(-ies).

If the Suspension was caused by the reporting of False Negative

Finding(s), and further investigation reveals that other Negative

Finding(s) had been reported by the Laboratory, the Laboratory shall

inform the Testing Authority and WADA. In such cases, both the “A”

and “B” containers of the relevant Samples shall be transferred 7to

another Laboratory(-ies) for Further Analysis, as determined by WADA.

These analyses may be applied for all the Prohibited Substances and

Prohibited Methods included in the requested Analytical Testing menu

or be limited to the class of Prohibited Substances and/or Prohibited

Methods or to the Analytical Testing Procedure(s) that were associated

with the Negative Finding(s), as determined by WADA.

o Samples for which Initial Testing Procedures had been completed, but

results had not been reported at the time of the Suspension:

If the Initial Testing Procedure(s) produced Presumptive Adverse

Analytical Finding(s) or other Confirmation Procedures were required

(e.g. GC/C/IRMS analysis for Markers of the steroid profile), both the

“A” and “B” Samples shall be transferred 7to another Laboratory(-ies)

for the performance of the “A” and, if needed, the “B” Confirmation

Procedures.

ISL – January 2021 Page 53 of 160

In addition, if the Suspension was caused by the reporting of False

Negative Finding(s) and the Initial Testing Procedure(s) had produced

negative results, both the “A” and “B” Samples shall also be transferred

7to another Laboratory(-ies) for the repetition of the Initial Testing

Procedure(s) and, if needed, the performance of Confirmation

Procedures. These analyses may be applied for all the Prohibited

Substances and Prohibited Methods included in the requested

Analytical Testing menu or be limited to the class of Prohibited

Substances and/or Prohibited Methods or to the Analytical Testing

Procedure(s) that were associated with the Negative Finding, as

determined by WADA.

If the reason for the Suspension was not related to the reporting of

False Negative Findings and the Initial Testing Procedures had

produced negative results, the Sample(s) shall be reported in ADAMS

as Negative Finding(s). These Samples shall be kept in the Laboratory

under proper Laboratory Internal Chain of Custody and appropriate

storage conditions until further notice by WADA. The Laboratory shall

inform WADA of such actions including the provision of the Sample

codes and the identity of the relevant Testing Authority(-ies).

o Samples which had been opened and were undergoing analysis for the

Initial Testing Procedure(s) at the time of the Suspension:

If the reason for Suspension was not related to the reporting of False

Negative Finding(s), the Laboratory shall continue to analyze the

relevant Samples until all Initial Testing Procedures are completed. If

the Initial Testing Procedures produce Negative Findings, the

Laboratory shall report these findings into ADAMS and these Samples

shall be kept in the Laboratory under proper Laboratory Chain of

Custody and appropriate storage conditions until further notice by

WADA. The Laboratory shall inform WADA of such actions including

the provision of the Sample codes and the identity of the relevant

Testing Authority(-ies).

However, if the Initial Testing Procedure produced a Presumptive

Adverse Analytical Finding, both the “A” and “B” Samples shall be

transferred 7to another Laboratory(-ies) for the performance of the “A”

and, if needed, the “B” Confirmation Procedures.

If the Suspension was caused by the reporting of False Negative

Finding(s), then the Laboratory shall cease all Analytical Testing and

have the “A” and “B” Samples transferred 7to another Laboratory(-ies)

for the performance of the “A” and, if needed, the “B” Confirmation

Procedures.

o Samples which had been received at the Laboratory but had not been

ISL – January 2021 Page 54 of 160

opened yet at the time of the Suspension:

These Samples shall be kept sealed in the Laboratory under proper

Laboratory Chain of Custody and appropriate storage conditions until

transfer 7to another Laboratory(-ies) for Analytical Testing.

- Samples for which “A” or “B” Confirmation Procedures had been

completed, but results of analysis had not been reported by the Suspension

date, or Samples which were undergoing “A” or “B” Confirmation

Procedures at the time of the Suspension:

Both the “A” and “B” Samples shall be transferred 7to another Laboratory(-

ies) for the repetition of the “A” and, if applicable, the “B” Confirmation

Procedures.

- Samples which had been reported as an Adverse Analytical Finding based

on the “A” Confirmation Procedure prior to the Suspension:

These Samples shall be kept in the Laboratory under proper Laboratory

Internal Chain of Custody and appropriate storage conditions. Should a “B”

Confirmation Procedure be requested during the Suspension, both “A” and

“B” Samples shall be transferred 7to another Laboratory(-ies) for the “A”

Confirmation Procedure to be performed again and for the performance of

the “B” Confirmation Procedure, if applicable.

If the Suspension concerns the analysis of blood Samples for the ABP,

Samples collected prior to the Suspension date may be analyzed by the

Laboratory. The reporting of results for the relevant Sample(s) in ADAMS shall

include a comment regarding the Suspension at the time of analysis so that

the Testing Authority (or Results Management Authority, if different) / APMU

can take this information into account during the Results Management process.

[Comment: Due to the negative impact of time on the integrity of blood Samples for the

ABP analysis, it is not normally feasible to send the ABP blood Samples to other

Laboratory(-ies) for timely analysis.]

During a Suspension or Analytical Testing Restriction period, the Laboratory

shall continue to participate in the WADA EQAS program. WADA may require

the Laboratory to analyze additional blind EQAS samples and/or perform a

Laboratory assessment, at any time and at the expense of the Laboratory, in

order to evaluate the Laboratory’s status.

4.6.5.3 Revocation

A laboratory whose WADA accreditation or approval for the ABP has been

revoked is ineligible to perform Analytical Testing of Samples for any Testing

Authority. The Laboratory Internal Chain of Custody maintained by a revoked

laboratory for stored Samples is valid until such time that arrangements can be

ISL – January 2021 Page 55 of 160

made, in consultation with WADA, for the transfer 7of relevant Samples to a

Laboratory(-ies).

A laboratory whose WADA accreditation or approval for the ABP has been

revoked shall arrange the transfer 7of Samples in the laboratory’s custody to

a Laboratory(-ies) chosen by the Testing Authority or WADA, respectively,

within thirty (30) days of being notified of the decision revoking its WADA

accreditation. In such circumstances, the Samples to be transferred shall be

selected by the Testing Authority or WADA. The laboratory transferring the

Samples shall inform WADA and provide the relevant Sample codes and the

identity of the relevant Testing Authority(-ies) and the chosen

Laboratory(-ies). In addition, the revoked laboratory shall assist the relevant

Testing Authority(-ies) with the transfer of the relevant Sample data and

records to the Laboratory(-ies) that have been selected to receive the Samples.

[Comment: The revoked laboratory shall transfer all Samples in its custody for which

the Analytical Testing process has not been completed at the time of the Revocation.

The Testing Authority may also choose to transfer additional Samples retained in the

laboratory in accordance with Articles 5.3.11.1. or 5.3.11.2, or other Samples for which

it is the owner pursuant to Article 10.1 of the ISTI and that had been analyzed and

were in long-term storage at the time of the Revocation of the laboratory’s WADA

accreditation. In addition, WADA may identify and request that Samples be transferred

to another Laboratory(-ies).]

4.6.6 Reinstatement of Suspended Accreditation or Lifting of the Analytical Testing Restriction

WADA shall lift the Suspension of the Laboratory’s WADA accreditation or lift the  Analytical Testing Restriction only when the Laboratory provides satisfactory  evidence, as determined by WADA, that appropriate steps have been taken to remedy  the noncompliance(s) that resulted in the Suspension of the Laboratory’s WADA  accreditation or the imposition of the Analytical Testing Restriction, and that proper  measures have been implemented to satisfactorily address the condition(s) specified,  if any, for reinstatement of WADA accreditation.

4.6.6.1 Extension of Suspension or Analytical Testing Restriction

If a Laboratory whose WADA accreditation has been suspended or has been

the subject of an Analytical Testing Restriction has not satisfactorily corrected

the ISL and/or Technical Document(s) and/or Technical Letter(s)

noncompliance(s) that resulted in the Suspension or Analytical Testing

Restriction, or if WADA identifies any additional ISL and/or Technical

Document(s) and/or Technical Letter(s) noncompliance(s) during a WADA

Laboratory assessment conducted during the initial Suspension or Analytical

Testing Restriction period, either the Suspension of the Laboratory’s WADA

accreditation or Analytical Testing Restriction shall be further extended or the

Laboratory’s accreditation shall be revoked, as determined by WADA.

ISL – January 2021 Page 56 of 160

The Suspension or Analytical Testing Restriction period may be extended up

to an additional six (6) months, if the Laboratory provides justifiable

explanation(s) for the delay, as determined by the LabEG, in addressing the

conditions to lift the Suspension or Analytical Testing Restriction (including the

submission of satisfactory corrective actions). The Suspension of a

Laboratory’s WADA accreditation or the Analytical Testing Restriction,

including any extensions of a Suspension or Analytical Testing Restriction,

shall not exceed twelve (12) months, unless the Laboratory is subject to

Revocation proceedings in accordance with Article 4.6.5.3 or as otherwise

determined by WADA.

If applicable, a delay in the delivery of the ISO/IEC 17025 accreditation to the

Laboratory by the relevant Accreditation Body may also constitute grounds to

extend the Suspension of the Laboratory’s WADA accreditation.

The decision to extend the Suspension of a Laboratory’s WADA accreditation

or the period of the Analytical Testing Restriction shall be rendered by the Chair

of the WADA Executive Committee on the basis of a recommendation from the

LabEG. WADA will provide the Laboratory with a decision of the Chair of the

WADA Executive Committee extending the Suspension of the Laboratory’s

WADA accreditation or extending the period of the Analytical Testing

Restriction.

The Laboratory may appeal WADA’s decision to extend the Suspension of its

WADA accreditation or to extend the period of the Analytical Testing

Restriction in accordance with Article 4.6.4.7.

If, in accordance with the terms of the extension of the Suspension of the

Laboratory’s WADA accreditation or the terms of the extension of the Analytical

Testing Restriction, the Laboratory provides evidence determined to be

satisfactory by WADA that all of the identified ISL and/or Technical Document

and/or Technical Letter noncompliance(s) have been corrected, the

Laboratory’s accreditation shall be re-instated or the Analytical Testing

Restriction may be lifted by decision of the Chair of the WADA Executive

Committee.

If the Laboratory has not provided evidence determined to be satisfactory by

WADA at the end of the extended Suspension or extended Analytical Testing

Restriction period, the LabEG shall recommend the Revocation of the

Laboratory’s accreditation. The decision to revoke a Laboratory’s WADA

accreditation shall be rendered by the WADA Executive Committee.

If the Laboratory is subject to Revocation proceedings either at the end of a six

(6) month Suspension or Analytical Testing Restriction or at the end of a

Suspension or Analytical Testing Restriction that has been extended to twelve

(12) months, the Laboratory’s WADA accreditation shall remain subject to the

Suspension or Analytical Testing Restriction, as applicable, until the

ISL – January 2021 Page 57 of 160

completion of the Revocation proceedings and pending the decision of the

WADA Executive Committee regarding the Revocation of the Laboratory’s

WADA accreditation. If the WADA Executive Committee confirms the

Revocation of the Laboratory’s WADA accreditation, then the Laboratory’s

WADA accreditation shall remain subject to the Suspension or Analytical

Testing Restriction, as applicable, until the Revocation comes into effect

according to Article 4.6.4.7.

[Comment: For Revocation proceedings conducted at the end of a Suspension or

Analytical Testing Restriction period, no resolution facilitation session, as described in

Article 4.6.4.4, will be conducted.]

WADA shall not be required to take any other formal action to extend the

Laboratory’s Analytical Testing Restriction or Suspension beyond either the

initial six (6)- month Suspension or Analytical Testing Restriction or beyond the

end of the Suspension or Analytical Testing Restriction that has been extended

to twelve (12) months, apart from formally instituting Revocation proceedings

against the Laboratory. Further, if Revocation proceedings are instituted

against a Laboratory in such circumstances, the Laboratory may not appeal

the extension of its Analytical Testing Restriction or Suspension beyond the

initial six (6)- month Suspension or Analytical Testing Restriction period or

beyond the end of the Suspension or Analytical Testing Restriction that has

been extended to twelve (12) months.

WADA will notify the Laboratory of the decision of the WADA Executive

Committee to revoke the Laboratory’s WADA accreditation in accordance with

Article 4.6.4.6.

The Laboratory may appeal WADA’s decision to revoke its WADA

accreditation in accordance with Article 4.6.4.7.

4.6.6.2 Revoked Accreditation

If a laboratory whose WADA accreditation has been revoked wishes to seek

a new WADA accreditation, it must apply for WADA accreditation as a new

laboratory in accordance with Article 4.1.

When seeking a new WADA accreditation, the laboratory may request that

WADA expedite the laboratory re-accreditation procedure, which shall be

approved by the WADA Executive Committee. To do so the laboratory shall

provide WADA, as part of its application for a new accreditation, information

that it considers constitutes “exceptional circumstances” as justification for

modifying the requirements of Articles 4.1 to 4.3 to expedite the entry of the

laboratory into, and/or shortening the duration of, the probationary phase of

accreditation. At its sole discretion, WADA’s Executive Committee may

determine whether such modifications are justified, and which steps must be

followed prior to granting approval to the laboratory to enter the probationary

phase of accreditation.

ISL – January 2021 Page 58 of 160

4.6.7 Voluntary Cessation of Laboratory Operations

A Laboratory may decide to voluntarily cease its anti-doping Analytical Testing operations on either a temporary or permanent basis despite not having been found  to have committed any analytical failures or other ISL noncompliance(s) and not  having been subject to an Analytical Testing Restriction or Suspension or Revocation of its WADA accreditation.

In such circumstances, the Laboratory shall inform WADA and provide, in writing, the  reason(s) for the cessation of anti-doping Analytical Testing operations as soon as the decision is taken to cease its operations and no later than three (3) months prior to the  date on which its decision shall take effect. The Laboratory shall also take all  necessary measures to notify all its clients of the decision to cease its operations and  to arrange, in consultation with its clients, to transfer Samples to another Laboratory(-

ies) in accordance with Articles 4.6.5.2 (temporary closure) or 4.6.5.3 (permanent  closure).

If a Laboratory voluntarily ceases its anti-doping Analytical Testing operations on a  temporary basis, the Laboratory shall maintain satisfactory performance in the  analysis of EQAS samples during the period of inactivity. The period of temporary  cessation of Analytical Testing activities shall not exceed six (6) months, with one  possible extension of up to six (6) months (as determined by the Chair of the WADA Executive Committee based on a recommendation from the LabEG). If the Laboratory

is unable to resume its Analytical Testing operations within a twelve (12)- month  period, the WADA Executive Committee shall revoke the Laboratory’s accreditation,  unless otherwise approved by WADA.

If a Laboratory decides to cease its operations on a permanent basis, the Laboratory shall assist the relevant Testing Authority(-ies) with the transfer of relevant Sample data and records to the Laboratory(-ies) that have been selected to receive the  Samples.

ISL – January 2021 Page 59 of 160

4.7 Process and Requirements for WADA Laboratory Approval for the ABP

The network of WADA-accredited laboratories may be geographically limited to fully serve the  practical development of the ABP. Therefore, non-WADA-accredited laboratories, which have  the capacity to analyze blood Markers, may apply for WADA approval for the purposes of  conducting blood Samples analysis in support of the hematological module of the ABP in  regions that cannot be served by a Laboratory. This Article describes the specific  requirements that a laboratory shall fulfill in the process of applying for, obtaining, and

maintaining WADA approval for the ABP.

4.7.1 Applicant Laboratory for WADA Approval for the ABP

In principle, any laboratory that satisfies the criteria listed below may apply to become  a candidate laboratory for WADA approval for the ABP. However, the WADA Executive  Committee, in its sole discretion, may accept or deny a laboratory’s candidacy  application based on the identified needs (or lack thereof) for anti-doping Analytical  Testing for the ABP on a regional or national scale, or for any other reason(s).

4.7.1.1 Expression of Interest

The applicant laboratory shall officially contact WADA in writing to express its

interest in becoming an ABP Laboratory.

4.7.1.2 Submit Initial Application Form

The applicant laboratory shall submit a completed initial application form,

provided by WADA, with supporting documentation for review by the LabEG.

An applicant laboratory may only submit an application if its host country

satisfies the following conditions:

- The existence of a National Anti-Doping Program conducted by a National

Anti-Doping Organization and/or a Regional Anti-Doping Organization

which is compliant with the Code and the International Standards of the

World Anti-Doping Program;

- The ratification of the UNESCO Convention against Doping in Sport; and

- The payment of the annual financial contributions to WADA.

These conditions shall be documented as part of the application.

4.7.1.3 Provision of Letter(s) of Support

Upon receipt of an application and verification of the conditions mentioned

above, WADA shall request that the applicant laboratory submit letter(s) of

support from one or more Signatory. The letter(s) of support shall indicate the

estimated number of ABP blood Samples that will be provided per year to the

applicant laboratory, as well as the reason(s) why an existing Laboratory or

ABP Laboratory is not a viable option for the Signatory’s ABP program.

ISL – January 2021 Page 60 of 160

4.7.2 Candidate Laboratory for WADA Approval for the ABP

The application materials described in Articles 4.7.1.1 to 4.7.1.3 shall be evaluated by  the WADA Executive Committee to determine whether the applicant laboratory will be  granted WADA candidate laboratory status for the ABP and thereby continue within  the WADA approval process.

4.7.2.1 Description of the Candidate Laboratory

Once approved by the WADA Executive Committee, the candidate laboratory

shall complete a detailed questionnaire provided by WADA and submit it to

WADA within eight (8) weeks of receipt. The questionnaire will include, but is

not limited to, the following:

- List of staff that will be responsible for the ABP analyses and their

qualifications;

- Description of the physical laboratory facilities, including a description of

the security considerations for Samples and records (see Article 5.2.3);

o Physical Security: specific measures to maintain a secure laboratory

environment (e.g., CCTV monitoring, restricted access to Sample storage

areas);

o IT Security: implementation of firewalls and other current cyber security

measures consistent with best practice and any applicable governmental

regulations;

o Information Technology (IT) infrastructure: implementation of a data and

information management system (e.g. LIMS), central server/intranet

which allows for secure data handling.

- List of actual and proposed instrumental resources and equipment for the

ABP, including year of purchase and conditions for technical support (e.g.

contract/access to instrument maintenance services);

- Status of the ABP method development and validation. Method validation

report (if completed);

- Status of ISO/IEC 17025 or ISO 15189 accreditation;

- Status of Laboratory’s independence and impartiality as described in ISL

Article 4.7.2.2;

- Description of customs regulations in the host country with respect to the

reception of blood Samples and consumables from abroad and the ability

to ship blood Samples outside the country as needed.

WADA may require an update of this documentation during the process of the

ABP approval.

ISL – January 2021 Page 61 of 160

[Comment: Candidate laboratories for ABP approval are encouraged to establish

agreement(s) with a Laboratory(-ies) for mentoring and training in order to ensure

successful preparation towards obtaining the WADA approval.]

4.7.2.2 Laboratory Independence and Impartiality 8

In order to avoid potential conflicts of interest, the laboratory shall be

administratively and operationally independent from any organization which

could exert undue pressure on the laboratory and affect the impartial execution

of its tasks and operations.

- Administrative independence requires that the laboratory be a separate

legal entity, or a defined part of a legal entity, without any administrative

links to an Anti-Doping Organization or any other sport organization or

government Ministry of Sport or other government body responsible for

sport performance (see Article 4.4.2.4);

- Operational independence requires that the laboratory shall manage its

ABP Analytical Testing activities without hindrance, interference or

direction from any Person.

4.7.2.3 Compliance with the Code of Ethics (Annex A)

The candidate laboratory shall implement and comply with the provision(s) of

the Code of Ethics. A letter of compliance with the Code of Ethics shall be

signed by the laboratory Director and provided to WADA.

4.7.2.4 Participating in the WADA EQAS Program for the analysis of ABP blood  Markers

The candidate laboratory shall be required to participate in at least three (3)

WADA EQAS rounds for the analysis of ABP blood Markers with satisfactory

performance, as determined by the LabEG. During this period, WADA may

provide feedback to assist the laboratory to improve the quality of its Analytical

Testing process.

4.7.2.5 Obtaining ISO/IEC 17025 or ISO 15189 Accreditation

The applicant laboratory shall obtain ISO/IEC 17025 or ISO 15189

accreditation from an Accreditation Body, which is an ILAC full member and is

a signatory to the ILAC MRA for testing laboratories according to ISO/IEC

17025 or for medical laboratories according to ISO 15189.

The laboratory shall correct and document any identified nonconformities with

the ISO/IEC 17025 or ISO 15189 requirements within defined timelines. The

8 ABP Laboratories shall comply with these requirements of administrative and operational independence by  1 January 2022, unless otherwise approved by WADA.

ISL – January 2021 Page 62 of 160

Accreditation Body should send a summary of the Assessment Report and any

corrective/preventive action documentation addressing identified

nonconformities, in English or French, to WADA. Should the applicant

laboratory prefer to send the information directly to WADA, the laboratory shall

do so within a reasonable timeline.

A valid ISO/IEC 17025 or ISO 15189 Accreditation Certificate and Scope of

Accreditation shall be provided to WADA before the WADA-approval can be

granted.

4.7.2.6 WADA On-Site Assessment for the ABP Approval

Prior to approval, WADA shall conduct an on-site assessment of the candidate

laboratory at the laboratory’s expense. The purpose of this assessment is to

obtain information about different aspects of the laboratory’s competence and

verify compliance with the relevant ISL and TD BAR (Technical Document on

blood analytical requirements for the Athlete Biological Passport) requirements

for the ABP and to clarify any issues with regard to the approval process.

[Comment: At WADA’s discretion, the initial on-site assessment for the ABP approval

may not be necessary or may be conducted on-line or as a document-based audit, in

cases of previously accredited or WADA-approved laboratories].

WADA shall provide an Assessment Report regarding the outcomes of the on

site assessment, including any identified nonconformity(-ies), in order to allow

the applicant laboratory to implement the necessary improvements. Corrective

actions, if requested by WADA, shall be conducted and reported by the

candidate laboratory to WADA within thirty (30) days, or as otherwise indicated

by WADA.

The nonconformities identified in the WADA Assessment Report shall be

satisfactorily addressed and the recommendations for improvement should be

implemented before the laboratory can be accepted as an ABP Laboratory.

The laboratory’s performance in the on-site assessment will be taken into

account in the overall review of the laboratory’s status and may affect the

timeliness of the WADA approval.

4.7.2.7 Professional Liability Insurance Coverage

Before WADA grants approval, candidate laboratories shall provide

documentation to WADA that professional liability risk insurance coverage has

been obtained to cover liability of no less than two (2) million USD annually.

4.7.3 Granting of WADA Approval for the ABP

The maximum length of time during which a laboratory can remain as a candidate laboratory for the ABP is one (1) year, unless WADA determines that there are  exceptional circumstances that justify an extension of this period.

ISL – January 2021 Page 63 of 160

Upon successful fulfilment of the requirements stated in the preceding provisions by a  candidate laboratory, the LabEG will submit a recommendation to the WADA  Executive Committee to grant the laboratory the status of an ABP Laboratory.

4.7.3.1 Issuing and Publishing of WADA Approval Certificate for the ABP

Upon granting of WADA approval for the ABP, a WADA Approval Certificate

signed by a duly authorized representative of WADA (exclusive to Analytical

Testing in support of the Hematological Module of the ABP) will be issued to

the laboratory.

On an annual basis, if approval for the ABP is maintained, the ABP Laboratory

shall receive a renewed WADA Approval Certificate signed by a duly

authorized representative of WADA (exclusive to Analytical Testing in support

of the Hematological Module of the ABP), which is issued in recognition of such

approval.

The WADA Approval Certificate shall specify the name of the ABP Laboratory

and the period of validity. WADA Approval Certificates may be issued after the

effective date of the WADA approval, with retroactive effect.

A list of ABP Laboratories shall be maintained on WADA’s website and in

ADAMS for stakeholder reference.

4.7.4 Maintaining Status as an ABP Laboratory

The laboratory shall meet the following requirements to maintain its WADA approval  status for the ABP:

- Satisfactory performance, as determined by WADA, in a WADA EQAS or similar  WADA-approved quality assurance program for the analysis of ABP blood Markers  and during routine Analytical Testing of ABP blood Samples;

- Maintenance of a valid ISO accreditation (ISO/IEC 17025 or ISO 15189);

- Availability of analytical instrumentation, which is compliant with the requirements  of the hematological module of the ABP, as determined by WADA;

- Implementation of Analytical Testing Procedures for the measurement of individual  Athlete blood Markers, which are in compliance with the TD BAR;

- Compliance with relevant WADA documents, including the relevant articles of the  Section 5.0 relevant to the analysis of blood Samples;

- Documented compliance with the Code of Ethics (Annex A);

- Maintenance of Professional Liability Insurance Coverage;

- Implementation of Laboratory Internal Chain of Custody procedures, which are  compliant with the Technical Document on Laboratory Internal Chain of Custody (TD LCOC);

ISL – January 2021 Page 64 of 160

- Production of Laboratory Documentation Packages or Certificates of Analysis for  the Blood ABP in compliance with the Technical Document on Laboratory  Documentation Packages (TD LDOC);

- Cooperation in support of the administrative and legal processes instigated when  anti-doping rule violations are issued and managed by Anti-Doping Organizations.

4.7.4.1 Suspension or Revocation of WADA approval for the ABP

A laboratory’s WADA approval for the ABP may be suspended or revoked

whenever the ABP Laboratory fails to comply with the ISL and/or applicable

Technical Document(s) and/or Technical Letter(s), or where the Suspension or

Revocation of the laboratory’s approved status is otherwise required in order

to protect the integrity of the ABP blood Samples, the Analytical Testing

process for the ABP and the interests of the Anti-Doping Community.

Disciplinary proceedings to suspend or revoke a laboratory’s WADA approval

for the ABP (including notice, publication, and right to appeal) shall be

conducted in accordance with the procedures described in Articles 4.6.4 and

4.6.5, applied and modified accordingly, and the Procedural Rules found in

Annex C of the ISL.

ISL – January 2021 Page 65 of 160

5.0 Application of ISO/IEC 17025 to the Analysis of Samples

5.1 Introduction and Scope

This section of the ISL is intended as an extension of the application of ISO/IEC 17025 to the  field of Doping Control. Any aspect of Analytical Testing or management not specifically  discussed in this document or in the relevant Technical Documents, Technical Letters or  Laboratory Guidelines shall be governed by ISO/IEC 17025 (or ISO 15189, as applicable for

ABP Laboratories). The application focuses on the specific parts of the processes that are  critical with regard to the quality of the laboratory’s performance as a Laboratory or ABP Laboratory, and are therefore significant in the evaluation and accreditation process.

This section introduces the specific performance standards for a Laboratory or ABP Laboratory, as applicable. The conduct of Laboratory Analytical Testing is considered a  process within the definitions of ISO 17000. Performance standards are defined according to  a process model where the Laboratory practice is structured into three (3) main categories of  processes:

- Structural and Resource Requirements,

- Process Requirements,

- Management Requirements.

5.2 Structural and Resource Requirements

5.2.1 General

General structure and resource requirements shall be provided in accordance with the  requirements of ISO/IEC 17025.

The Laboratory shall have available the personnel, facilities, equipment, systems and  support services necessary to manage and perform its Laboratory activities.

5.2.2 Laboratory Personnel

The Laboratory Director is responsible for ensuring that the Laboratory personnel are  adequately trained and have the experience and skills necessary to perform their  duties.

All personnel shall have a thorough knowledge of their responsibilities including the  security of the Laboratory, the Code of Ethics, confidentiality of Analytical Testing results, Laboratory Internal Chain of Custody protocols, and the Standard Operating  Procedures (SOPs) for any Analytical Testing Procedure that they perform.

The Laboratory shall have access to records for every Person employed by, or under  contract with, the Laboratory including a curriculum vitae or qualification  form(s)/certificate(s), a job description, records of completed and ongoing training and  records of authorization to perform their defined duties.

ISL – January 2021 Page 66 of 160

Specific criteria shall be met by the Laboratory Director, Laboratory Quality Manager,  Laboratory Certifying Scientists, and Laboratory Supervisory Personnel, as outlined  below.

5.2.2.1 Laboratory Director

The Laboratory shall have a qualified Person as the Laboratory Director,

whose priority is to assume and focus on the professional, organizational,

educational, operational and administrative responsibilities of the Laboratory’s

operations. The Laboratory Director plays an essential role in the anti-doping

Laboratory’s operations and the WADA accreditation is delivered based upon

such qualification as well as on the Laboratory’s operational performance.

The Laboratory Director shall be a full-time appointment and his/her

qualifications shall include:

- Doctoral degree (Ph.D. or equivalent) in one of the natural sciences with

appropriate experience and/or training in chemical and/or biochemical

analysis, preferably in the anti-doping area; or

- In the absence of a Doctoral degree, a postgraduate degree (e.g. Master’s

degree) in one of the natural sciences and appropriate anti-doping science

experience and training (e.g. a senior Laboratory position for a minimum of

five (5) years), including the documented ability to develop analytical

methodology and oversee research projects; or

- In the absence of a postgraduate degree, a Bachelor degree in one of the

natural sciences and extensive and appropriate anti-doping science

experience and training (e.g. a senior Laboratory position for a minimum of

ten (10) years), including the documented ability to develop analytical

methodology and oversee research projects;

- Experience and competence in the analysis of chemical and biological

material for the classes of substances and methods used in doping;

- Demonstrated working knowledge of drug metabolism and

pharmacokinetics;

- Proficiency in English to an extent that allows adequate performance of

functions as part of the international anti-doping community and in

accordance with the Code, the ISL, Technical Documents, Technical

Letters and Laboratory Guidelines.

Any personnel changes to the position of Laboratory Director shall be

communicated to WADA no later than one (1) month prior to the scheduled

date the Laboratory Director vacates his/her position. A succession plan shall

be forwarded to WADA. WADA reserves the right to review the credentials of

such appointment and either approve it or reject it in accordance with the above

qualifications.

ISL – January 2021 Page 67 of 160

5.2.2.2 Laboratory Quality Manager

The Laboratory shall have a single staff member appointed as the Laboratory

Quality Manager. The Quality Manager shall have responsibility and authority

to implement and ensure compliance with the Management System. The

Quality Manager’s priority and functions shall be focused on quality assurance

and quality control activities. The Quality Manager should remain independent,

as much as possible, from routine Laboratory analytical activities.

The Laboratory Quality Manager qualifications shall include:

- At least a Bachelor degree (or similar) in one of the natural sciences with

appropriate experience and/or training in chemical and/or biochemical

sciences;

- Appropriate experience of two (2) years or more in laboratory analytical

procedures;

- Appropriate documented qualifications and training in laboratory quality

management, including ISO/IEC 17025;

- Ability to ensure compliance with the Management System and quality

assurance processes.

5.2.2.3 Laboratory Certifying Scientists

The Laboratory shall have qualified personnel to serve as Certifying Scientists

to review all pertinent analytical data, Analytical Method validation results,

quality control results, Laboratory Documentation Packages, and to attest to

the validity of the Laboratory’s test results.

The qualifications of Certifying Scientists shall include:

- At least a Bachelor degree (or similar) in one of the natural sciences with

appropriate experience and/or training in chemical and/or biochemical

analysis, preferably in the anti-doping area. In the absence of a Bachelor

degree, documented experience of five (5) years or more in a Laboratory

as senior scientist (e.g. supervisor, section head) may be considered

equivalent to a Bachelor degree for this position;

- Appropriate training and experience (e.g. three (3) years or more) including

theoretical knowledge and technical competence in the analysis and

interpretation of results for chemical or biological materials, including the

classes of substances and methods used in doping;

- Knowledge of relevant Technical Documents, Technical Letters,

Laboratory Guidelines and other technical standards;

- Experience in the use of relevant analytical techniques such as

chromatography, immunoassays, electrophoresis or mass spectrometry;

ISL – January 2021 Page 68 of 160

- Adequate training in the Laboratory’s Management System and thorough

understanding of its application into Laboratory processes.

5.2.2.4 Laboratory Supervisory Personnel

The Laboratory shall have qualified personnel to serve as Laboratory

Supervisors. All Laboratory Supervisors shall have a thorough understanding

of the Laboratory’s Management System including the review, interpretation

and reporting of test results, the maintenance of Laboratory Internal Chain of

Custody, and proper implementation of corrective and preventive actions in

response to analytical problems.

The qualifications for a Laboratory Supervisor shall include:

- At least a Bachelor degree (or similar) in one of the natural sciences with

appropriate experience and/or training in chemical and/or biochemical

analysis, preferably in the anti-doping area. Documented experience of

two (2) years or more in a Laboratory may be considered equivalent to a

Bachelor degree for this position;

- Experience in the use of relevant analytical techniques such as

chromatography, immunoassays, electrophoresis or mass spectrometry;

- Ability to comply with the Management System and quality assurance

processes.

5.2.3 Laboratory Facilities and Environmental Conditions

5.2.3.1 Laboratory Facilities

The Laboratory shall have Fit-for-Purpose facilities including sufficient space

for dedicated administrative, Sample handling, Sample storage and analytical

areas, which comply with the security requirements outlined below:

- A Person shall be assigned as the security officer, who has overall

knowledge of the security system and/or serves as the liaison Person with

the security services of the host organization (e.g. university, hospital,

research institute);

- The Laboratory shall have a policy for the security of its facilities,

equipment and systems against unauthorized access, which may include

a threat and risk assessment performed by expert(s) in the relevant field;

- Two (2) main levels of access shall be defined in the Management System

and evaluated in the threat assessment plan:

o Reception Zone: An initial point of control beyond which unauthorized

individuals shall not be permitted;

The Laboratory shall have a system to register visitors and authorized

individuals to the Laboratory. They shall be supplied with an

ISL – January 2021 Page 69 of 160

identification badge while in the Laboratory facilities.

o Controlled Zones: Access to these areas shall be monitored (e.g.

through the use of electronic access system(s) such as biometric

and/or personal identification cards) and records of access by visitors

shall be maintained;

Access to the Laboratory Controlled Zones shall be monitored and

restricted to Laboratory staff and temporarily approved/authorized

personnel (e.g. maintenance engineers, auditing teams). All other

visitors to the Laboratory Controlled Zones shall be continuously

escorted by Laboratory staff member(s). Access to the Laboratory

Controlled Zones shall be defined in the Laboratory’s Management

System.

- The Laboratory shall have a dedicated and restricted area within the

Controlled Zone for Sample receipt and Aliquot preparation;

Access to the Laboratory’s Sample receipt and Aliquot preparation area

shall be restricted to authorized personnel, based on a risk assessment by

the Laboratory.

- The Laboratory shall have a dedicated and restricted Sample storage area;

Access to stored Samples 9shall be restricted to authorized personnel, based

on a risk assessment by the Laboratory.

Samples may be transported for long-term storage to a specialized, secure

Sample storage facility, which is located outside the Laboratory’s permanent

controlled zone, to another Laboratory, or to another Fit-for-Purpose facility

under the responsibility of the Testing Authority, which has ownership of the

Sample(s) pursuant to Article 10.1 of the ISTI. Long-term storage facilities shall

maintain security requirements comparable to the security requirements

applicable to a Laboratory’s short-term storage of Samples. If the external

Sample storage facility is not covered by the Laboratory’s ISO/IEC 17025

accreditation, then the subcontracted external storage facility shall have its

own ISO accreditation or accredited certification (e.g. 17025, 20387, 9001).

The transfer of the Samples to the long-term storage facility shall be recorded.

- The Laboratory may implement additional security measures, which should

be assessed on a case-by-case basis.

9 This refers to “A” and “B” Samples stored in Sample collection containers (urine collection bottles, blood collection  tubes) and should not be confused with access to Aliquots, which should be accessible to analysts for the  performance of Analytical Testing Procedures.

ISL – January 2021 Page 70 of 160

5.2.3.2 Relocation of Laboratory Facilities

In cases where a Laboratory is to relocate to a new physical space, on a

permanent or temporary basis, a report containing the following information

shall be provided to WADA no later than three (3) months prior to the

relocation:

- Description of the circumstances for moving Laboratory operations into a

new space and anticipated effect on capabilities;

- Relocation date(s) including date of closing of existing facility operations

and date of opening of future facility operations;

- Expected date(s) of assessment of the new facilities by the Accreditation

Body (evidence of continued accreditation and/or acceptance of suitability

of the new Laboratory facilities required when made available by the

Accreditation Body);

- New Laboratory contact information and coordinates;

- Assessment of the effect of the Laboratory relocation on client operations.

5.2.3.3 Environmental Control

The Laboratory shall have a written safety policy and compliance with

Laboratory safety policies shall be enforced.

The Laboratory’s storage and handling of controlled substances shall comply

with applicable national legislation.

The Laboratory shall:

- Ensure appropriate electrical service (for example, by provision of an

alternative power supply such as an UPS system and/or power generators)

and environmental conditions (space, temperature, humidity, as

applicable) for all Laboratory instrumentation and equipment critical to

Laboratory operations, such that service is not likely to be interrupted;

- Have policies in place to ensure the integrity of refrigerated and/or frozen

stored Samples in the event of an electrical or freezer/refrigerator

equipment failure.

5.2.3.4 Confidentiality of Data, Information and Operations

The Laboratory should implement a clean desk policy and either file securely

any confidential or sensitive information or properly destroy it before disposal.

Laboratory staff shall be trained on how to comply with a clean desk policy, on

how to ensure confidentiality of information and operations, as well as on the

risks of corruption attempts by third parties.

Laboratory staff shall be trained to protect their personal access badge during

and outside of working hours.

ISL – January 2021 Page 71 of 160

In order to minimize any attempts of fraud or counterfeit, the Laboratory should

implement a policy to ensure that discarded urine and blood Sample

containers, as well as the seals and rings, cannot be collected by unauthorized

Persons or recovered after disposal (for example, bottles should be destroyed,

or trash containers should be properly secured).

5.2.3.5 Control and Security of Electronic Data and Information

The Laboratory shall implement all reasonable measures, based on a thorough

risk and vulnerability assessments (e.g., by a competent third party), to prevent

and to detect unauthorized access and copying of Laboratory data and

information from local and/or cloud-based computerized systems. Laboratories

shall implement technical and organizational safeguards consistent with best

practice and any applicable governmental regulations.

Access to Laboratory computer terminals, computers, servers or other

operating equipment shall be restricted to authorized personnel (e.g. by using

access passwords).

The Laboratory shall implement a data and information management system,

a software-based solution that supports and maintains proper traceability of

Laboratory operations (e.g. a Laboratory Information Management System,

LIMS) with secure and restricted access to stored electronic data by authorized

personnel as well as information and data exchange capabilities including

between the Laboratory and ADAMS.

[Comment: The data and information management system may also feature workflow

management, data tracking support, Sample and Aliquot Laboratory Internal Chain of

Custody, control of stocks of Reference Materials, etc.]

The Laboratory shall utilize a secure data storage system that prevents

unauthorized access and data loss (e.g. failed hard drive, fire, flooding). The

Laboratory shall ensure that at least two (2) independent, regularly backed-up

copies of all relevant analytical/LIMS/instrument software files are available.

- If the Laboratory is utilizing a non-cloud-based system, then at least one

(1) backup copy shall be stored in a restricted and secure environment

either in the Laboratory (e.g. fire and waterproof safe) or in a secure off

site location (e.g. in a mirrored server that guarantees the integrity of the

server and the stored data);

- If the Laboratory is using a cloud-based system, the Laboratory data shall

be, at a minimum, replicated in two different physical locations (e.g.

between two different availability zones within the same region or between

different regions) in order to minimize the possibility of data loss.

The software utilized by the Laboratory shall prevent the changing of data and

test results, unless there is a system to record the change with audit trail

capabilities which is limited to users with authorized access. The audit trail shall

ISL – January 2021 Page 72 of 160

record the Person performing the editing task, the date and time of the edit, the

reason(s) for the change to the original data and allow the retention of the

original data.

If the Laboratory utilizes third-party computerized systems or software, the

Laboratory shall ensure the provider or operator complies with all applicable

requirements of the Code and the ISL and shall implement and maintain

technical and organizational controls necessary to safeguard Laboratory data.

5.2.4 Laboratory Equipment

The Laboratory shall have access to equipment that is required for the correct  performance of Analytical Testing activities. The Laboratory shall maintain sufficient  instrumental capacity to minimize the risk of operational delays and meet the analytical  and results reporting obligations of the ISL and its related Technical Documents,  Technical Letters and Laboratory Guidelines. A list of available equipment shall be  established and maintained.

As part of its Management System, the Laboratory shall operate a program for the  maintenance and calibration of equipment according to ISO/IEC 17025. Calibrations  are only required where the setting can change the test result. A maintenance  schedule, at least in accordance with the manufacturer’s recommendations or local  regulations, if available, shall be established for general Laboratory equipment that is  used in Analytical Testing Procedure(s).

General Laboratory equipment (fume hoods, centrifuges, evaporators, etc.) that is not  used for analytical measurements should be maintained by visual examination, safety  checks, performance verification and cleaning, as necessary.

Equipment or volumetric devices used in measuring shall have periodic performance  checks and/or calibrations along with servicing, cleaning, and repair.

Qualified vendors may be contracted to service, maintain, and repair equipment. All  maintenance, service, and repair of equipment shall be recorded.

5.2.5 Metrological Traceability

5.2.5.1 Reference Materials

When available, Reference Materials of substances traceable to a national

standard or certified by a body of recognized status (e.g. USP, BP, Ph.Eur.

WHO) or a Reference Material producer accredited to ISO 17034 should be

used.

When a Reference Material is not certified, the Laboratory shall verify its

identity and check its purity by comparison with published data and/or by

chemical characterization.

ISL – January 2021 Page 73 of 160

5.2.5.2 Reference Collections

Samples or isolates may be obtained from in vitro or in vivo sources [e.g. (i) an

external quality control sample, (ii) an isolate from a urine or blood sample after

an authenticated administration, or (iii) an “in-vitro” incubation with liver cells,

microsomes or biological fluids] and be used as Reference Collections.

Reference Collections shall be traceable to a Prohibited Substance or a

Prohibited Method, and the analytical data shall be sufficient to establish the

identity of the Analyte.

5.2.6 Subcontracting of Analysis

A Laboratory or ABP Laboratory shall perform all work with qualified personnel and  equipment within its accredited or approved facility, respectively.

A Laboratory may subcontract an analysis to another Laboratory, in consultation with  the Testing Authority. The conditions that justify subcontracting include, for example:

- A specific technology or Analyte(s) that are not within the Laboratory’s Scope of  ISO/IEC 17025 Accreditation;

- An Analytical Testing Restriction decision;

- Other justifications such as a need for higher sensitivity or specific equipment or  expertise, temporary workload or technical incapacity);

- In exceptional circumstances, WADA may elect to grant specific authorization to  subcontract analyses using specific methods to an ISO/IEC 17025-accredited  laboratory approved by WADA, which has the necessary technique within its  Scope of ISO/IEC 17025 Accreditation (for example, DNA analysis or genomic  profiling);

- Other specific investigations, such as, without limitation, forensic examinations  which need to be performed in the course of the Analytical Testing process may  also be subcontracted by the Laboratory.

[Comment: Alternatively, the analysis may be contracted by the Testing Authority. In this case,  the Laboratory shall nevertheless be in charge of ensuring the Sample chain of custody in  connection with the transfer of the Sample(s) to the other Laboratory(-ies) or expert(s) as the  case may be.]

In all such cases, the Laboratory subcontracting the analysis is only responsible for  the maintenance of the appropriate chain of custody up to Sample reception by the  subcontracted Laboratory. Such arrangements shall be clearly recorded as part of the  Sample’s documentation and included in the Laboratory Documentation Package, if  applicable.

Recommendations to facilitate the implementation of subcontracted analyses and  Further Analysis are provided in the WADA Laboratory Guidelines on “Conducting and  Reporting Subcontracted Analysis and Further Analysis for Doping Control”.

ISL – January 2021 Page 74 of 160

5.2.7 Purchasing of Services and Supplies

Chemicals and reagents shall be Fit-for-Purpose and be of appropriate purity.  Documentation indicating the purity of Reference Materials/Standards shall be  obtained when available and retained in the Management System documentation.  Chemicals, reagents and kits labelled e.g. “Research Only” or “Forensic Use Only”  may be utilized for the purposes of Doping Control as long as they are demonstrated  to be Fit-for-Purpose by the Laboratory and/or WADA.

In the case of rare or difficult to obtain Reference Materials, or Reference Collections for use in qualitative Analytical Testing Procedures, the expiration date can be  extended if adequate documentation exists confirming that no significant deterioration  has occurred or that appropriate purification or verification of Fitness-for-Purpose has  been performed. The process to extend the expiration date of a Reference Material,  Reference Collection, or solution shall be described in the Laboratory’s Management  System documentation.

The Laboratory shall maintain control and proper records of use of controlled  chemicals and reagents in accordance with national laws and other relevant  regulations.

Waste disposal shall be in accordance with national laws and other relevant  regulations. This includes biohazard materials, chemicals, controlled substances, and  radioisotopes, if used.

Environmental health and safety policies shall be in place to protect the staff, the  public, and the environment.

5.3 Process Requirements

The Laboratory shall maintain paper or electronic Laboratory Internal Chain of Custody in  compliance with the Technical Document TD LCOC.

5.3.1 Reviewing of Requests, Tenders and Contracts

Review of legal documents or agreements related to Analytical Testing shall meet the  requirements of ISO/IEC 17025.

5.3.2 Reception, Registration and Handling of Samples

The Laboratory may receive Samples, which have been collected, sealed and  transported to the Laboratory according to the ISTI.

The transfer of the Samples from the courier or other delivery Person shall be recorded  including, at a minimum, the date, the time of receipt, the initials or (electronic)  signature of the Laboratory representative receiving the Samples and the courier  company tracking number, if available. This information shall be included into the  Laboratory Internal Chain of Custody record(s) of the Sample(s).

The Sample transport container shall be inspected, and any irregularities recorded.

ISL – January 2021 Page 75 of 160

Each individual Sample shall be inspected, and any irregularities recorded (see Article 5.3.3.1). However, Samples transferred for long-term storage purposes are not  subject to an individual inspection by the receiving Laboratory until a Sample has been  selected for Further Analysis.

The Laboratory shall have a system to uniquely identify the Samples and associate  each Sample with the collection document or other external chain of custody  information.

5.3.3 Acceptance of Samples for Analysis

The Laboratory shall analyze each Sample received, unless the Sample meets any of  the following conditions:

- In cases where the Laboratory receives two (2) urine Samples, which are linked to  a single Sample Collection Session from the same Athlete according to the Doping  Control Forms (DCF), the Laboratory shall analyze both Samples collected, unless  otherwise instructed by the Testing Authority;

[Comment: The Laboratory may combine Aliquots from the two (2) Samples, if necessary,  in order to have sufficient volume to perform the required Analytical Testing Procedure(s).]

- In cases where the Laboratory receives three (3) or more urine Samples, which  are linked to a single Sample Collection Session from the same Athlete according  to the DCF(s), the Laboratory shall prioritize the analysis of the first and the  subsequent collected Sample with the highest specific gravity (SG), as recorded  on the DCF:

[Comment: The Laboratory may conduct analyses on the additional collected Samples, if  deemed necessary, with the agreement of the Testing Authority. The Laboratory may also  combine Aliquots from multiple Samples, if necessary, in order to have sufficient volume  to perform the required Analytical Testing Procedure(s).

With the agreement of the Testing Authority, the Laboratory may store the additional  collected, non-analyzed Samples for Further Analysis.]

- If the Sample(s) meet documented Sample rejection criteria, which have been  agreed with the Testing Authority.

[Comment: If justified by the Sample irregularities observed (see Article 5.3.3.1), the  Laboratory shall seek instructions from the Testing Authority on the performance of  Analytical Testing on the Sample. The Testing Authority shall inform the Laboratory in  writing within seven (7) days whether a Sample with noted irregularities should be analyzed  or not, and/or of any further measures to be taken (e.g. splitting the Sample in accordance  with Article 5.3.3.2, forensic analysis, DNA analysis), or that the Sample should be stored  for Further Analysis. The communication between the Laboratory and the Testing Authority shall be recorded as part of the Sample’s documentation.]

- Except as provided in this Article 5.3.3, Samples shall not be accepted by a  Laboratory for the sole purpose of being put into long-term storage or for later  analysis without first being subject to an Analytical Testing Procedure.

ISL – January 2021 Page 76 of 160

5.3.3.1 Samples with Irregularities

With the exception of the situation when a large number of Samples, which

have already been analyzed, are received for long-term storage only (e.g. from

a Major Event Organization), as described in Article 5.3.11.3, the Laboratory

shall observe and document conditions that exist at the time of Sample

reception or registration that may adversely impact on the integrity of a Sample

or on the performance of Analytical Testing Procedures. Only unusual

conditions shall be recorded.

Irregularities to be noted by the Laboratory may include, but are not limited to:

- Sample transport conditions (e.g. delivery time, temperature), which may

impact the integrity of the Sample for Analytical Testing, as determined by

the Laboratory;

- Sample collection information (including Sample identification code), which

is necessary to conduct the requested Analytical Testing menu, is not

provided, e.g. missing or incomplete DCF;

- Sample identification is questionable. For example, the number on the

Sample container does not match the Sample identification number on the

DCF;

- Athlete information is visible on the Laboratory copy of the DCF or any

other document transferred to the Laboratory;

- Sample identification numbers are different between the “A” and the “B”

Sample containers of the same Sample;

- Tampering or adulteration of the Sample is evident;

- Sample is not sealed with tamper-evident device or not sealed upon

receipt;

- Sample volume does not meet the Suitable Volume of Urine for Analysis or

is otherwise inadequate to perform the requested Analytical Testing menu;

- The Sample condition(s) is unusual – for example: color, odor, presence of

turbidity or foam in a urine Sample; color, haemolysis, freezing or clotting

of a blood Sample; unusual differences in Sample appearance (e.g. color

and/or turbidity) between the “A” and the “B” Samples 10.

When an analysis on a Sample with documented irregularities is performed,

the Laboratory shall record the irregularities in the Test Report.

10 Further guidance on assessing the differences between “A” and “B” Samples is provided in a Technical Letter.

ISL – January 2021 Page 77 of 160

5.3.3.2 Sample Splitting Procedure

In cases when either the “A” or “B” Sample is not suitable for the performance

of the analyses (e.g. there is insufficient Sample volume; the Sample container

has not been properly sealed or has been broken; the Sample’s integrity has

been compromised in any way; the Sample is heavily contaminated, the “A” or

“B” Sample is missing), the Laboratory shall notify and seek authorization from

the Testing Authority to split the other Sample container (“A” or “B”, as

applicable), provided that it is properly sealed. The Testing Authority shall

inform the Laboratory of its decision in writing within seven (7) days of

notification by the Laboratory. If the Testing Authority decides not to proceed

with the Sample splitting procedure, then the Laboratory shall report the

Sample as Not Analyzed in ADAMS, including the noted Sample irregularities

and the documented reasons if provided by the Testing Authority.

The first fraction of the split Sample shall be considered as the “A” Sample and

shall be used for the Initial Testing Procedure(s), unless the Initial Testing

Procedure(s) have already been performed, and the “A” Confirmation

Procedure(s), if necessary. The second fraction, considered as the “B” Sample,

shall be resealed and stored frozen for “B” Confirmation Procedure(s), if

necessary.

The process of opening and splitting the Sample and resealing of the remaining

second fraction shall be conducted in accordance with Article 5.3.6.2.3 as for

a customary “B” Sample opening, including an attempt to notify the Athlete that

the opening of the Sample to be split will occur on a specified date and time

and advising the Athlete of the opportunity to observe the process in person

and/or through a representative. When the Athlete cannot be located, does not

respond or the Athlete and/or his/her representative does not attend the

opening and splitting of the Sample, the procedure shall be done in the

presence of an Independent Witness that is assigned by the Laboratory.

[Comment: If the Athlete chooses to witness the Sample splitting procedure, the Athlete

takes responsibility for forfeiting his/her anonymity.]

When the splitting procedure concerns blood Samples, which have been

collected for Analytical Testing on the blood serum/plasma fraction, the sealed,

intact (“A” or “B”) Sample shall be centrifuged as soon as practical after

Laboratory reception to obtain the serum or plasma fraction. The centrifuged

Sample shall be stored frozen in the sealed Sample collection tube according

to established protocols until the Sample opening/splitting procedure can be

conducted. The opening of the Sample for the splitting of the serum/plasma

fraction and resealing of the second fraction shall be carried out as described

immediately above.

ISL – January 2021 Page 78 of 160

5.3.4 Initial Storage and Sample Aliquoting for Analysis

It is recommended that the Laboratory assign specific staff member(s) to Sample  aliquoting, and that the process of aliquoting is performed in a specifically designated  area (see Article 5.2.3.1).

The Aliquot preparation procedure for any Initial Testing Procedure or Confirmation  Procedure shall minimize the risk of contamination of the Sample or Aliquot. The  Laboratory shall use new material(s) (e.g. new test tubes) to take Aliquots for  Confirmation Procedures.

5.3.4.1 Urine Samples

In order to maintain the stability and integrity of the urine Samples, the

Laboratory shall implement Sample storage procedures that minimize storage

time at room and refrigerated temperatures as well as Sample freeze/thaw

cycles.

For urine Samples, the Laboratory shall obtain, following proper

homogenization of the Sample, an initial Aliquot containing enough Sample

volume for all analytical procedures (all Initial Testing Procedures or all

intended Confirmation Procedures, as applicable), by decanting the Aliquot

from the urine Sample container into a secondary container (e.g. a Falcon

tube). Procedure-specific Aliquot(s) shall then be taken from the secondary

container.

The Laboratory shall measure the pH and SG of urine Samples once, using

one Aliquot, during the Initial Testing Procedure and the Confirmation

Procedure(s) (“A” and “B” Samples). Other tests that may assist in the

evaluation of adulteration or manipulation may be performed if deemed

necessary by the Laboratory (refer to the Technical Document on measuring

and reporting the steroid profile, TD EAAS).

Urine “A” Samples should be frozen after Aliquots are taken for the Initial

Testing Procedure(s) to minimize risks of Sample microbial degradation. Urine

“B” Samples shall be stored frozen after reception until analysis, if applicable.

5.3.4.2 Blood Samples

The Laboratory shall follow the applicable Technical Document(s), Technical

Letter(s) or Laboratory Guidelines for handling and storing blood Samples.

For blood Samples, the Laboratory shall obtain Aliquot(s) from the blood

Sample container by using disposable pipettes or pipettes with disposable,

non-reusable tips.

a) Samples for which Analytical Testing will be performed on blood

serum/plasma fraction only (not on cellular components).

Blood Samples (“A” and “B” Samples), for which Analytical Testing will be

ISL – January 2021 Page 79 of 160

performed on the plasma/serum fraction only should be centrifuged as

soon as practical after Laboratory reception to obtain the serum or plasma

fraction 11.

The “A” Sample serum or plasma fraction (contained in the “A” Sample

collection tube) and/or the “A” Sample serum or plasma Aliquots may be

stored refrigerated for a maximum of 24 hours (but not surpassing the

maximum allowed time from Sample collection established in the

applicable Technical Document, Technical Letter or Laboratory Guidelines)

or frozen until analysis. In all circumstances, the Laboratory shall take the

appropriate steps to maintain the integrity of the Sample.

“A” Sample serum or plasma Aliquots used for “A” Confirmation Procedures

shall be analyzed as soon as possible after thawing.

The “B” Sample serum or plasma fractions shall be immediately stored

frozen in the collection tube according to established protocols until

analysis, if applicable 11.

b) Samples for which Analytical Testing will be performed on the cellular

fraction of whole blood.

Whole blood Samples shall be maintained refrigerated and shall be

analyzed according to established protocols. After Aliquots have been

taken for analysis, Samples shall be returned to refrigerated storage.

Whole blood Samples shall not be frozen. In all circumstances, appropriate

steps to ensure the integrity of the Sample(s) shall be taken by the

Laboratory.

If, after completion of analyses on the cellular components of whole blood,

the Sample is centrifuged to obtain the plasma fraction for additional

analyses (e.g. EPO), then the plasma Sample shall be stored as described

above.

5.3.5 Selection and Validation of Analytical Testing Procedures

Standard methods are generally not available for Doping Control analyses. The  Laboratory shall select, validate and document Analytical Testing Procedures, which  are Fit-for-Purpose for the analysis of representative target Analytes of Prohibited Substances and Prohibited Methods.

Validation results for Analytical Testing Procedures shall be summarized in a  Validation Report and supported by the necessary documentation and analytical data.  The Validation Report shall indicate whether the Analytical Testing Procedure is Fit

11 Unless otherwise specified in a Technical Document, Technical Letter or Laboratory Guidelines.

ISL – January 2021 Page 80 of 160